## 3V0
3V0
Row # | Level | Docket 4600 Appendix B Mixed Cost-Benefit, Cost, or Benefit Category | Direct Driver | Direct Impact Qualification | Level of Direct Impact | Direct Impact Quantification | Enables DER | Enabler Qualification | Level of Enabler Impact | Enabler Quanitfication
1 | Power System | Energy Supply & Transmission Operating Value of Energy Provided or Saved (Time- & Location-specific LMP) | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
2 | Power System | Renewable Energy Credit Cost /Value | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | Yes | By implementing 3V0 protection scheme, DR or DER, pass a certain threshhold, will be able to interconnect with lower interconnection costs than without this project, enabling a greater portion of the system to contribute towards REC cost reduction. | High | The Company does not currently have an internally approved industry -wide accepted methodology to calculate the value of this traditional Utility Investment as DER enabler.
3 | Power System | Retail Supplier Risk Premium | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | Yes | By implementing 3V0 protection scheme, DR or DER, pass a certain threshhold, will be able to interconnect with lower interconnection costs than without this project, reducing retail supplier premium risk. | Medium | The Company does not currently have an internally approved industry -wide accepted methodology to calculate the value of this traditional Utility Investment as DER enabler.
4 | Power System | Forward Commitment: Capacity Value | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
5 | Power System | Forward Commitment: Avoided Ancillary Services Value | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
6 | Power System | Utility / Third Party Developer Renewable Energy, Efficiency, or DER costs | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | Yes | By implementing 3V0 protection scheme, DR or DER, pass a certain threshhold, will be able to interconnect with lower interconnection costs than without this project. | Low | The Company does not currently have an internally approved industry -wide accepted methodology to calculate the value of this traditional Utility Investment as DER enabler.
7 | Power System | Electric Transmission Capacity Costs / Value | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
8 | Power System | Electric transmission infrastructure costs for Site Specific Resources | Yes | Total Capital Project cost | High | 2700000 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
9 | Power System | Net risk benefits to utility system operations (generation, transmission, distribution) from 1) Ability of flexible resources to adapt, and 2) Resource diversity that limits impacts, taking into account that DER need to be studied to determine if they reduce or increase utility system risk based on their locational, resource, and performance diversity | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
10 | Power System | Option value of individual resources | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
11 | Power System | Investment under Uncertainty: Real Options Cost / Value | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
12 | Power System | Energy Demand Reduction Induced Price Effect | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
13 | Power System | Greenhouse gas compliance costs | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | Yes | Implementing 3V0 protection scheme, will enable more DR or DER, pass a certain threshhold, to interconnect with lower interconnection costs than without this project, impacting GHG compliance costs. | Medium | The Company does not currently have an internally approved industry -wide accepted methodology to calculate the value of this traditional Utility Investment as DER enabler.
14 | Power System | Criteria air pollutant and other environmental compliance costs | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | Yes | Implementing 3V0 protection scheme, will enable more DR or DER, pass a certain threshhold, to interconnect with lower interconnection costs than without this project, impacting air pollutant and other environmental compliance costs. | Medium | The Company does not currently have an internally approved industry -wide accepted methodology to calculate the value of this traditional Utility Investment as DER enabler.
15 | Power System | Innovation and Learning by Doing | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
16 | Power System | Distribution capacity costs* | Yes | Total Capital Project cost | High | 2490000 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
17 | Power System | Distribution delivery costs | Yes | Yearly expense to operate maintain the project equipment. | Low | $1 Maintenance costs associated with this project/program have not been fully quantified. A placeholder has been used to indicate whether the value of this category will be expected to be a cost or (benefit) | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
18 | Power System | Distribution system performance | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
19 | Power System | Utility low income | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
20 | Power System | Distribution system and customer reliability / resilience impacts | Yes | Reduces Protection Risk by implenting scheme which prevents DG sources from contributing to fault overvoltage conditions which could result in prolonged outages and impact customer reliability. | High | The Company does not currently have an internally approved Industry wide accepted methodology to calculate the value of this traditional Utility Investment direct driver. | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
21 | Power System | Distribution system safety loss/gain | Yes | Reduces Protection Risk by implenting scheme which prevents DG sources from contributing to fault overvoltage conditions which could damage equipment and result in unsafe working conditions. | High | The Company does not currently have an internally approved Industry wide accepted methodology to calculate the value of this traditional Utility Investment direct driver. | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
22 | Customer | Program participant / prosumer benefits / costs | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
23 | Customer | Participant non-energy costs/benefits: Oil, Gas, Water, Waste Water | Yes | This asset condition driven project/program improves customer satisfaction due to reliability improvements. | Low | The Company does not currently have an internally approved Industry wide accepted methodology to calculate the value of this traditional Utility Investment direct driver. | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
24 | Customer | Low-Income Participant Benefits | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
25 | Customer | Consumer Empowerment & Choice | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | Yes | Implementing 3V0 protection scheme, will enable more DR or DER, pass a certain threshhold, to interconnect with lower interconnection costs than providing customers with greater options. | Medium | The Company does not currently have an internally approved industry -wide accepted methodology to calculate the value of this traditional Utility Investment as DER enabler.
26 | Customer | Non-participant (equity) rate and bill impacts | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
27 | Societal | Greenhouse gas externality costs | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
28 | Societal | Criteria air pollutant and other environmental externality costs | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
29 | Societal | Conservation and community benefits | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
30 | Societal | Non-energy costs/benefits: Economic Development | Yes | Job Creation impact. | Low | The Company does not currently have an internally approved Industry wide accepted methodology to calculate the value of this traditional Utility Investment direct driver. | Yes | Enable DER which enables more jobs | Low | The Company does not currently have an internally approved industry -wide accepted methodology to calculate the value of this traditional Utility Investment as DER enabler.
31 | Societal | Innovation and knowledge spillover (Related to demonstration projects and there RD&D preceding larger scale deployment) | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
32 | Societal | Societal Low-Income Impacts | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
33 | Societal | Public Health | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
34 | Societal | National Security and US international influence | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0 | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
6267
423
14.8156
1253.4
545000
|  |  |  | 6442.0804 | 434.8173 | per mile
0.01182

## VVO
Volt/VAR Optimization Program
Row # | Level | Docket 4600 Appendix B Mixed Cost-Benefit, Cost, or Benefit Category | Direct Driver | Direct Impact Qualification | Level of Direct Impact | Direct Impact Quantification | Enables DER | Enabler Qualification | Level of Enabler Impact | Enabler Quantification
1 | Power System | Energy Supply & Transmission Operating Value of Energy Provided or Saved (Time- & Location-specific LMP) | Yes | ~3% Energy Savings based on past performance | High | 3735000
2 | Power System | Renewable Energy Credit Cost /Value | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
3 | Power System | Retail Supplier Risk Premium | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
4 | Power System | Forward Commitment: Capacity Value | Yes | AESC 2018 | Medium | 1080000
5 | Power System | Forward Commitment: Avoided Ancillary Services Value | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
6 | Power System | Utility / Third Party Developer Renewable Energy, Efficiency, or DER costs | NA | This cost/benefit category does not have direct involvement with this project/program. | N/A | NA
7 | Power System | Electric Transmission Capacity Costs / Value | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
8 | Power System | Electric transmission infrastructure costs for Site Specific Resources | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
9 | Power System | Net risk benefits to utility system operations (generation, transmission, distribution) from 1) Ability of flexible resources to adapt, and 2) Resource diversity that limits impacts, taking into account that DER need to be studied to determine if they reduce or increase utility system risk based on their locational, resource, and performance diversity | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
10 | Power System | Option value of individual resources | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
11 | Power System | Investment under Uncertainty: Real Options Cost / Value | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
12 | Power System | Energy Demand Reduction Induced Price Effect | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
13 | Power System | Greenhouse gas compliance costs | Yes | Fossil fuel component of reduced energy | Low | The Company does not currently have an internally approved Industry wide accepted methodology to calculate the value of this traditional Utility Investment direct driver.
14 | Power System | Criteria air pollutant and other environmental compliance costs | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
15 | Power System | Innovation and Learning by Doing | Yes | This program includes real-time monitoring and control of distribution line assets. | Low | The Company does not currently have an internally approved Industry wide accepted methodology to calculate the value of this traditional Utility Investment direct driver.
16 | Power System | Distribution capacity costs | Yes | Total Capital Project Cost (2 VVO projects starting in FY 2020) | High | 1880000
17 | Power System | Distribution delivery costs | Yes | Yearly maintenance expense to run the specific VVO enabled circuits. | Low | $1 Maintenance costs associated with this project/program have not been fully quantified. A placeholder has been used to indicate whether the value of this category will be expected to be a cost or (benefit)
18 | Power System | Distribution system performance | Yes | This program/project improves voltage system performance | N/A | The Company does not currently have an internally approved Industry wide accepted methodology to calculate the value of this traditional Utility Investment direct driver.
19 | Power System | Utility low income | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
20 | Power System | Distribution system and customer reliability / resilience impacts | 0 | This program/project does not impact this cost/benefit Category. | High | The Company does not currently have an internally approved Industry wide accepted methodology to calculate the value of this traditional Utility Investment direct driver.
21 | Power System | Distribution system safety loss/gain | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
22 | Customer | Program participant / prosumer benefits / costs | NA | This cost/benefit category does not have direct involvement with this project/program. | N/A | NA
23 | Customer | Participant non-energy costs/benefits: Oil, Gas, Water, Waste Water | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
24 | Customer | Low-Income Participant Benefits | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
25 | Customer | Consumer Empowerment & Choice | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
26 | Customer | Non-participant (equity) rate and bill impacts | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
27 | Societal | Greenhouse gas externality costs | Yes | Fossil fuel component of reduced energy | Medium | The Company does not currently have an internally approved Industry wide accepted methodology to calculate the value of this traditional Utility Investment direct driver.
28 | Societal | Criteria air pollutant and other environmental externality costs | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
29 | Societal | Conservation and community benefits | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
30 | Societal | Non-energy costs/benefits: Economic Development | Yes | Job Creation impact. | Low | The Company does not currently have an internally approved Industry wide accepted methodology to calculate the value of this traditional Utility Investment direct driver.
31 | Societal | Innovation and knowledge spillover (Related to demonstration projects and there RD&D preceding larger scale deployment) | 0 | This program/project does not impact this cost/benefit Category.
32 | Societal | Societal Low-Income Impacts | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
33 | Societal | Public Health | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
34 | Societal | National Security and US international influence | 0 | This program/project does not impact this cost/benefit Category. | N/A | 0
Note on K12: National Grid: Interconnection of Distributed Renewable Energy may actually cause more risk to the system due to the instability and lack of control.