## BYOT 2024
Appendix K. DR Scaling Factor Calculator
For additional detail on these calculations, see AESC 2024 Appendix K
Inputs A | [6 empty] | Outputs
Select measure life | 3 | [5 empty] | Average curtailment (MW) | 9.3569 | Based on a 1-year curve
[7 empty] | Curtailment x load effect (MW) | 3.241
Inputs B | [6 empty] | Resulting scaling factor | 0.34637 | Multiply this scaling factor by (a) a measure's MW savings and (b) the uncleared capacity or uncleared capacity DRIPE value from AESC 2024 to produce (c) total benefits from uncleared capacity or uncleared capacity DRIPE. Note that this formula returns postitive values only (a calcuated negative value will appear as "0").
Enter in dates and hours for all peak events. Current dates and hours are based on peak dates and hours observed systemwide in 2020 and are shown as an example only. Peak hours and dates in future years will differ. Users of this tool may wish to update these days and hours if this tool is being used for retrospective purposes. One reduction may occur each day. Only the single highest-load hour that occurs within a calendar day is used in ISO New England's regression. If a curtailment occurred, select "Yes" in column E, and also enter the MW curtailed in column F.
#VALUE!
Peak Number | Date | Hour Ending | Curtailment occurred? | MW Curtailed | Appendix A Values | Appendix C Values
1 | 2024-07-16 | 18 | Yes | 10.04 | 0.03 | 0.032
2 | 2024-07-17 | 17 | Yes | 9.47 | 0.06 | 0.031
3 | 2024-07-08 | 18 | Yes | 8.95 | 0.1 | 0.025
4 | 2024-08-01 | 18 | No | 10.43 | 0.13 | 0.035
5 | 2024-07-15 | 16 | Yes | 9.93 | 0.16 | 0.026 |  | https://www.synapse-energy.com/sites/default/files/inline-images/AESC%202024%20May%202024.pdf
6 | 2024-07-09 | 17 | Yes | 8.78 | 0.19 | 0.02 |  | Notes:
7 | 2024-07-10 | 17 | Yes | 8.26 | 0.22 | 0.022 |  | Received regulatory approval of program on 7/1/2024
8 | 2024-08-02 | 16 | Yes | 12.53 | 0.25 | 0.024 |  | Typically call 15 events/season
9 | 2024-07-11 | 18 | Yes | 7.73 | 0.27 | 0.021 |  | 2024: Called 15 events total. 14 events in July & August
10 | 2024-08-05 | 17 | Yes | 9.51 | 0.3 | 0.021 |  | 2024: Curtailment occurred during peak hour in all 14 July & August events
11 | 2024-07-14 | 18 | No |  | 0.33 | 0.02 |  | MW Curtailed pulled from EH event analytics, Median Load Shed/Event Value w/ ISONE Baseline
12 | 2024-08-03 | 17 | Yes | 11.93 | 0.35 | 0.02
13 | 2024-07-07 | 18 | No |  | 0.38 | 0.027
14 | 2024-07-12 | 18 | No |  | 0.4 | 0.017
15 | 2024-07-30 | 18 | No |  | 0.43 | 0.018
16 | 2024-08-28 | 18 | Yes | 7.17 | 0.45 | 0.016
17 | 2024-07-31 | 17 | No |  | 0.47 | 0.016
18 | 2024-07-18 | 18 | Yes | 8.18 | 0.5 | 0.023
19 | 2024-07-13 | 18 | No |  | 0.52 | 0.023
20 | 2024-07-05 | 17 | No |  | 0.54 | 0.012
21 | 2024-07-22 | 18 | Yes | 9.16 | 0.56 | 0.017
22 | 2024-07-06 | 18 | No |  | 0.58 | 0.014
23 | 2024-08-09 | 18 | No |  | 0.6 | 0.015
24 | 2024-08-04 | 17 | No |  | 0.62 | 0.01
25 | 2024-07-21 | 18 | No |  | 0.64 | 0.018
26 | 2024-08-10 | 18 | No |  | 0.66 | 0.018
27 | 2024-08-27 | 18 | No |  | 0.68 | 0.017
28 | 2024-07-19 | 18 | No |  | 0.71 | 0.021
29 | 2024-08-19 | 18 | No |  | 0.73 | 0.013
30 | 2024-07-20 | 18 | No |  | 0.74 | 0.012
31 | 2024-07-25 | 18 | No |  | 0.76 | 0.016
32 | 2024-08-14 | 18 | No |  | 0.78 | 0.01
33 | 2024-07-26 | 18 | No |  | 0.79 | 0.007
34 | 2024-07-02 | 18 | No |  | 0.8 | 0.013
35 | 2024-07-23 | 18 | No |  | 0.82 | 0.018
36 | 2024-07-27 | 18 | No |  | 0.84 | 0.01
37 | 2024-08-15 | 16 | No |  | 0.85 | 0.009
38 | 2024-07-03 | 18 | No |  | 0.86 | 0.007
39 | 2024-08-13 | 18 | No |  | 0.88 | 0.008
40 | 2024-08-11 | 18 | No |  | 0.89 | 0.009
41 | 2024-08-26 | 18 | No |  | 0.9 | 0.009
42 | 2024-07-28 | 18 | No |  | 0.92 | 0.008
43 | 2024-07-24 | 19 | No |  | 0.93 | 0.006
44 | 2024-07-01 | 19 | No |  | 0.95 | 0.007
45 | 2024-08-25 | 19 | No |  | 0.96 | 0.007
46 | 2024-08-16 | 18 | No |  | 0.97 | 0.008
47 | 2024-07-04 | 18 | No |  | 0.99 | 0.009
48 | 2024-08-06 | 10 | No |  | 1 | 0.004
49 | 2024-07-29 | 18 | No |  | 1.01 | 0.008
50 | 2024-08-12 | 18 | No |  | 1.03 | 0.007
51 | 2024-08-24 | 18 | No |  | 1.04 | 0.014
52 | 2024-08-29 | 18 | No |  | 1.05 | 0.003
53 | 2024-08-23 | 18 | No |  | 1.06 | 0.002
54 | 2024-08-31 | 19 | No |  | 1.07 | 0.004
55 | 2024-08-17 | 18 | No |  | 1.08 | 0.003
56 | 2024-08-18 | 19 | No |  | 1.09 | 0.003
57 | 2024-08-08 | 17 | No |  | 1.1 | 0.003
58 | 2024-08-07 | 19 | No |  | 1.11 | 0.002
59 | 2024-08-30 | 18 | No |  | 1.11 | -0.001
60 | 2024-08-22 | 19 | No |  | 1.12 | -0.002
61 | 2024-08-21 | 19 | No |  | 1.12 | 0.006
62 | 2024-08-20 | 19 | No |  | 1.12 | -0.002
Approach 1 |  |  |  |  | Sum of R×MW for S days, Subappendix C | 2.814
Approach 2 |  |  |  |  | Sum of non-R values for S days, Subappendix C | 0.168
[5 empty] | R value for D days, Subappendix A | 0.56
[5 empty] | Residual Value | 0.392
[5 empty] | Residual value × Average curtailment | 3.6679
Average of approaches |  |  |  |  | Average of Curtailed Values and Residual Value | 3.241
Note on E20: Archambault, Allison Rose: capacity scarcity condition

## BES 2024
Appendix K. DR Scaling Factor Calculator
For additional detail on these calculations, see AESC 2024 Appendix K
Inputs A | [6 empty] | Outputs
Select measure life | 3 | [5 empty] | Average curtailment (MW) | 4.8047 | Based on a 1-year curve
[7 empty] | Curtailment x load effect (MW) | 3.5348
Inputs B | [6 empty] | Resulting scaling factor | 0.7357 | Multiply this scaling factor by (a) a measure's MW savings and (b) the uncleared capacity or uncleared capacity DRIPE value from AESC 2024 to produce (c) total benefits from uncleared capacity or uncleared capacity DRIPE. Note that this formula returns postitive values only (a calcuated negative value will appear as "0").
Enter in dates and hours for all peak events. Current dates and hours are based on peak dates and hours observed systemwide in 2020 and are shown as an example only. Peak hours and dates in future years will differ. Users of this tool may wish to update these days and hours if this tool is being used for retrospective purposes. One reduction may occur each day. Only the single highest-load hour that occurs within a calendar day is used in ISO New England's regression. If a curtailment occurred, select "Yes" in column E, and also enter the MW curtailed in column F.
#VALUE!
Peak Number | Date | Hour Ending | Curtailment occurred? | MW Curtailed | Appendix A Values | Appendix C Values
1 | 2024-07-16 | 18 | Yes | 5.13 | 0.03 | 0.032
2 | 2024-07-17 | 17 | Yes | 5.09 | 0.06 | 0.031
3 | 2024-07-08 | 18 | Yes | 5.14 | 0.1 | 0.025
4 | 2024-08-01 | 18 | No | 5.28 | 0.13 | 0.035
5 | 2024-07-15 | 16 | No |  | 0.16 | 0.026
6 | 2024-07-09 | 17 | No |  | 0.19 | 0.02
7 | 2024-07-10 | 17 | Yes | 4.92 | 0.22 | 0.022
8 | 2024-08-02 | 16 | Yes | 5.37 | 0.25 | 0.024
9 | 2024-07-11 | 18 | Yes | 5.05 | 0.27 | 0.021
10 | 2024-08-05 | 17 | Yes | 3.77 | 0.3 | 0.021
11 | 2024-07-14 | 18 | Yes | 3.88 | 0.33 | 0.02
12 | 2024-08-03 | 17 | Yes | 5.36 | 0.35 | 0.02
13 | 2024-07-07 | 18 | Yes | 4.9 | 0.38 | 0.027
14 | 2024-07-12 | 18 | Yes | 4.98 | 0.4 | 0.017
15 | 2024-07-30 | 18 | Yes | 5.21 | 0.43 | 0.018
16 | 2024-08-28 | 18 | Yes | 5.17 | 0.45 | 0.016
17 | 2024-07-31 | 17 | Yes | 4.86 | 0.47 | 0.016
18 | 2024-07-18 | 18 | Yes | 5.13 | 0.5 | 0.023
19 | 2024-07-13 | 18 | Yes | 4.48 | 0.52 | 0.023
20 | 2024-07-05 | 17 | Yes | 5.06 | 0.54 | 0.012
21 | 2024-07-22 | 18 | Yes | 5.21 | 0.56 | 0.017
22 | 2024-07-06 | 18 | Yes | 3.47 | 0.58 | 0.014
23 | 2024-08-09 | 18 | No |  | 0.6 | 0.015
24 | 2024-08-04 | 17 | Yes | 3.79 | 0.62 | 0.01
25 | 2024-07-21 | 18 | Yes | 3.85 | 0.64 | 0.018
26 | 2024-08-10 | 18 | Yes | 5.47 | 0.66 | 0.018
27 | 2024-08-27 | 18 | Yes | 5.59 | 0.68 | 0.017
28 | 2024-07-19 | 18 | Yes | 5.29 | 0.71 | 0.021
29 | 2024-08-19 | 18 | No |  | 0.73 | 0.013
30 | 2024-07-20 | 18 | No |  | 0.74 | 0.012
31 | 2024-07-25 | 18 | Yes | 4.8 | 0.76 | 0.016
32 | 2024-08-14 | 18 | Yes | 5.53 | 0.78 | 0.01
33 | 2024-07-26 | 18 | Yes | 5.3 | 0.79 | 0.007
34 | 2024-07-02 | 18 | Yes | 5.02 | 0.8 | 0.013
35 | 2024-07-23 | 18 | Yes | 4.19 | 0.82 | 0.018
36 | 2024-07-27 | 18 | No |  | 0.84 | 0.01
37 | 2024-08-15 | 16 | No |  | 0.85 | 0.009
38 | 2024-07-03 | 18 | Yes | 5.3 | 0.86 | 0.007
39 | 2024-08-13 | 18 | Yes | 5.59 | 0.88 | 0.008
40 | 2024-08-11 | 18 | No |  | 0.89 | 0.009
41 | 2024-08-26 | 18 | No |  | 0.9 | 0.009
42 | 2024-07-28 | 18 | Yes | 3.71 | 0.92 | 0.008
43 | 2024-07-24 | 19 | Yes | 2.39 | 0.93 | 0.006
44 | 2024-07-01 | 19 | Yes | 4.35 | 0.95 | 0.007
45 | 2024-08-25 | 19 | No |  | 0.96 | 0.007
46 | 2024-08-16 | 18 | Yes | 5.44 | 0.97 | 0.008
47 | 2024-07-04 | 18 | No |  | 0.99 | 0.009
48 | 2024-08-06 | 10 | No |  | 1 | 0.004
49 | 2024-07-29 | 18 | No |  | 1.01 | 0.008
50 | 2024-08-12 | 18 | No |  | 1.03 | 0.007
51 | 2024-08-24 | 18 | No |  | 1.04 | 0.014
52 | 2024-08-29 | 18 | No |  | 1.05 | 0.003
53 | 2024-08-23 | 18 | No |  | 1.06 | 0.002
54 | 2024-08-31 | 19 | No |  | 1.07 | 0.004
55 | 2024-08-17 | 18 | No |  | 1.08 | 0.003
56 | 2024-08-18 | 19 | Yes | 5.18 | 1.09 | 0.003
57 | 2024-08-08 | 17 | No |  | 1.1 | 0.003
58 | 2024-08-07 | 19 | No |  | 1.11 | 0.002
59 | 2024-08-30 | 18 | No |  | 1.11 | -0.001
60 | 2024-08-22 | 19 | No |  | 1.12 | -0.002
61 | 2024-08-21 | 19 | No |  | 1.12 | 0.006
62 | 2024-08-20 | 19 | No |  | 1.12 | -0.002
Approach 1 |  |  |  |  | Sum of R×MW for S days, Subappendix C | 2.8847
Approach 2 |  |  |  |  | Sum of non-R values for S days, Subappendix C | 0.219
[5 empty] | R value for D days, Subappendix A | 1.09
[5 empty] | Residual Value | 0.871
[5 empty] | Residual value × Average curtailment | 4.1849
Average of approaches |  |  |  |  | Average of Curtailed Values and Residual Value | 3.5348
Note on E20: Reno, Jessica E: capacity scarcity condition
Note on F21: Event called 17:00-19:00 hrs
Note on F22: Event called 18:00-20:00 hrs
Note on F53: Event Called 17:00 to 19:00
Note on F64: Event called 16:00-19:00 hrs

## Daily Dispatch 2024
Appendix K. DR Scaling Factor Calculator
For additional detail on these calculations, see AESC 2024 Appendix K
Inputs A | [6 empty] | Outputs
Select measure life | 3 | [5 empty] | Average curtailment (MW) | 10.8917 | Based on a 1-year curve
[7 empty] | Curtailment x load effect (MW) | 7.7615
Inputs B | [6 empty] | Resulting scaling factor | 0.7126 | Multiply this scaling factor by (a) a measure's MW savings and (b) the uncleared capacity or uncleared capacity DRIPE value from AESC 2024 to produce (c) total benefits from uncleared capacity or uncleared capacity DRIPE. Note that this formula returns postitive values only (a calcuated negative value will appear as "0").
Enter in dates and hours for all peak events. Current dates and hours are based on peak dates and hours observed systemwide in 2020 and are shown as an example only. Peak hours and dates in future years will differ. Users of this tool may wish to update these days and hours if this tool is being used for retrospective purposes. One reduction may occur each day. Only the single highest-load hour that occurs within a calendar day is used in ISO New England's regression. If a curtailment occurred, select "Yes" in column E, and also enter the MW curtailed in column F.
#VALUE!
Peak Number | Date | Hour Ending | Curtailment occurred? | MW Curtailed | Appendix A Values | Appendix C Values
1 | 2024-07-16 | 18 | Yes | 16.14 | 0.03 | 0.032
2 | 2024-07-17 | 17 | Yes | 12.75 | 0.06 | 0.031
3 | 2024-07-08 | 18 | Yes | 12.71 | 0.1 | 0.025 |  | Need to add acutal MW Curtailed once we have values
4 | 2024-08-01 | 18 | No | 9.81 | 0.13 | 0.035
5 | 2024-07-15 | 16 | No |  | 0.16 | 0.026 |  | https://www.synapse-energy.com/sites/default/files/inline-images/AESC%202024%20May%202024.pdf
6 | 2024-07-09 | 17 | No |  | 0.19 | 0.02 |  | Notes:
7 | 2024-07-10 | 17 | Yes | 15.43 | 0.22 | 0.022 |  | Received regulatory approval of program on 7/1/2024
8 | 2024-08-02 | 16 | No |  | 0.25 | 0.024 |  | Call no more than 60 events during the summer
9 | 2024-07-11 | 18 | Yes | 12.77 | 0.27 | 0.021 |  | 2024: Called 41 DD events. 40 events in July & August
10 | 2024-08-05 | 17 | Yes | 10.53 | 0.3 | 0.021 |  | 2024: Curtailment occurred during peak hour in 36 events in July & August
11 | 2024-07-14 | 18 | Yes | 9.43 | 0.33 | 0.02 |  | 2024: Curtailment missed on 4 events due to not hitting peak hour (7/15, 7/9, 8/2, 8/6)
12 | 2024-08-03 | 17 | Yes | 6.34 | 0.35 | 0.02 |  |  | 7/15: ISO Peak projected 17:00-19:00 day before
13 | 2024-07-07 | 18 | Yes | 8.31 | 0.38 | 0.027 |  |  | 7/9: Loads increased higher than expected but there is some rain that hit Worchester MA and moving through Lowell around 10am-12pm which might depress loads again. In hindsight, we probably should have called DD.
14 | 2024-07-12 | 18 | Yes | 11.5 | 0.4 | 0.017 |  |  | 8/2: ISO Peak projected 18:00 day of. Eversource called 75% of thermostats for 3 hours then called 25% of thermostats for 2.
15 | 2024-07-30 | 18 | Yes | 12.5 | 0.43 | 0.018 |  |  | 8/6: ISO Peak projected 19:00 day before
16 | 2024-08-28 | 18 | Yes | 9.34 | 0.45 | 0.016 |  | 2024: Average hourly load shed per each event day entered in "MW Curtailed" column.
17 | 2024-07-31 | 17 | Yes | 12.88 | 0.47 | 0.016 |  | MW Curtailed pulled from SOURCE.
18 | 2024-07-18 | 18 | Yes | 11.85 | 0.5 | 0.023
19 | 2024-07-13 | 18 | Yes | 7.84 | 0.52 | 0.023
20 | 2024-07-05 | 17 | Yes | 10.2 | 0.54 | 0.012
21 | 2024-07-22 | 18 | Yes | 12.94 | 0.56 | 0.017
22 | 2024-07-06 | 18 | Yes | 5.75 | 0.58 | 0.014
23 | 2024-08-09 | 18 | No |  | 0.6 | 0.015
24 | 2024-08-04 | 17 | Yes | 7.61 | 0.62 | 0.01
25 | 2024-07-21 | 18 | Yes | 6.78 | 0.64 | 0.018
26 | 2024-08-10 | 18 | Yes | 8.04 | 0.66 | 0.018
27 | 2024-08-27 | 18 | Yes | 8.73 | 0.68 | 0.017
28 | 2024-07-19 | 18 | Yes | 9.16 | 0.71 | 0.021
29 | 2024-08-19 | 18 | No |  | 0.73 | 0.013
30 | 2024-07-20 | 18 | No |  | 0.74 | 0.012
31 | 2024-07-25 | 18 | Yes | 9.02 | 0.76 | 0.016
32 | 2024-08-14 | 18 | Yes | 12.86 | 0.78 | 0.01
33 | 2024-07-26 | 18 | Yes | 11.01 | 0.79 | 0.007
34 | 2024-07-02 | 18 | Yes | 13.57 | 0.8 | 0.013
35 | 2024-07-23 | 18 | Yes | 11.26 | 0.82 | 0.018
36 | 2024-07-27 | 18 | No |  | 0.84 | 0.01
37 | 2024-08-15 | 16 | Yes | 17.54 | 0.85 | 0.009
38 | 2024-07-03 | 18 | Yes | 12.39 | 0.86 | 0.007
39 | 2024-08-13 | 18 | Yes | 13.18 | 0.88 | 0.008
40 | 2024-08-11 | 18 | No |  | 0.89 | 0.009
41 | 2024-08-26 | 18 | No |  | 0.9 | 0.009
42 | 2024-07-28 | 18 | Yes | 9.85 | 0.92 | 0.008
43 | 2024-07-24 | 19 | Yes | 12.44 | 0.93 | 0.006
44 | 2024-07-01 | 19 | No |  | 0.95 | 0.007
45 | 2024-08-25 | 19 | No |  | 0.96 | 0.007
46 | 2024-08-16 | 18 | Yes | 10.85 | 0.97 | 0.008
47 | 2024-07-04 | 18 | No |  | 0.99 | 0.009
48 | 2024-08-06 | 10 | No |  | 1 | 0.004
49 | 2024-07-29 | 18 | No |  | 1.01 | 0.008
50 | 2024-08-12 | 18 | No |  | 1.03 | 0.007
51 | 2024-08-24 | 18 | No |  | 1.04 | 0.014
52 | 2024-08-29 | 18 | No |  | 1.05 | 0.003
53 | 2024-08-23 | 18 | No |  | 1.06 | 0.002
54 | 2024-08-31 | 19 | No |  | 1.07 | 0.004
55 | 2024-08-17 | 18 | No |  | 1.08 | 0.003
56 | 2024-08-18 | 19 | Yes | 7.71 | 1.09 | 0.003
57 | 2024-08-08 | 17 | No |  | 1.1 | 0.003
58 | 2024-08-07 | 19 | No |  | 1.11 | 0.002
59 | 2024-08-30 | 18 | No |  | 1.11 | -0.001
60 | 2024-08-22 | 19 | No |  | 1.12 | -0.002
61 | 2024-08-21 | 19 | No |  | 1.12 | 0.006
62 | 2024-08-20 | 19 | No |  | 1.12 | -0.002
Approach 1 |  |  |  |  | Sum of R×MW for S days, Subappendix C | 6.2759
Approach 2 |  |  |  |  | Sum of non-R values for S days, Subappendix C | 0.241
[5 empty] | R value for D days, Subappendix A | 1.09
[5 empty] | Residual Value | 0.849
[5 empty] | Residual value × Average curtailment | 9.2471
Average of approaches |  |  |  |  | Average of Curtailed Values and Residual Value | 7.7615
Note on E20: Reno, Jessica E: capacity scarcity condition
Note on F21: Event called 17:00-19:00 hrs
Note on F22: Event called 18:00-20:00 hrs
Note on F24: Event called 17:00-19:00 hrs
Note on F64: Event called 16:00 to 19:00 hrs

## Targeted Dispatch 2024
Appendix K. DR Scaling Factor Calculator
For additional detail on these calculations, see AESC 2024 Appendix K
Inputs A | [6 empty] | Outputs
Select measure life | 3 | [5 empty] | Average curtailment (MW) | 10.99 | Based on a 1-year curve
[7 empty] | Curtailment x load effect (MW) | 0.67634
Inputs B | [6 empty] | Resulting scaling factor | 0.061542 | Multiply this scaling factor by (a) a measure's MW savings and (b) the uncleared capacity or uncleared capacity DRIPE value from AESC 2024 to produce (c) total benefits from uncleared capacity or uncleared capacity DRIPE. Note that this formula returns postitive values only (a calcuated negative value will appear as "0").
Enter in dates and hours for all peak events. Current dates and hours are based on peak dates and hours observed systemwide in 2020 and are shown as an example only. Peak hours and dates in future years will differ. Users of this tool may wish to update these days and hours if this tool is being used for retrospective purposes. One reduction may occur each day. Only the single highest-load hour that occurs within a calendar day is used in ISO New England's regression. If a curtailment occurred, select "Yes" in column E, and also enter the MW curtailed in column F.
#VALUE!
Peak Number | Date | Hour Ending | Curtailment occurred? | MW Curtailed | Appendix A Values | Appendix C Values
1 | 2024-07-16 | 18 | Yes | 11.91 | 0.03 | 0.032
2 | 2024-07-17 | 17 | Yes | 10.07 | 0.06 | 0.031
3 | 2024-07-08 | 18 | No |  | 0.1 | 0.025
4 | 2024-08-01 | 18 | No |  | 0.13 | 0.035 |  | Need to add actual MW curtailed once we have values
5 | 2024-07-15 | 16 | No |  | 0.16 | 0.026 |  | https://www.synapse-energy.com/sites/default/files/inline-images/AESC%202024%20May%202024.pdf
6 | 2024-07-09 | 17 | No |  | 0.19 | 0.02 |  | Notes:
7 | 2024-07-10 | 17 | No |  | 0.22 | 0.022 |  | Received regulatory approval of program on 7/1/2024
8 | 2024-08-02 | 16 | No |  | 0.25 | 0.024 |  | Typically call 2-8 events/season
9 | 2024-07-11 | 18 | No |  | 0.27 | 0.021 |  | 2024: Called 4 C&I Targeted events. 3 events in July & August
10 | 2024-08-05 | 17 | No |  | 0.3 | 0.021 |  | 2024: Curtailment occurred during peak hour in 2 events in July & August
11 | 2024-07-14 | 18 | No |  | 0.33 | 0.02 |  | 2024: Curtialment missed on 1 event due to not hitting peak hours (7/15)
12 | 2024-08-03 | 17 | No |  | 0.35 | 0.02 |  | 2024: Average hourly load shed per each event day entered in "MW Curtailed" column.
13 | 2024-07-07 | 18 | No |  | 0.38 | 0.027
14 | 2024-07-12 | 18 | No |  | 0.4 | 0.017
15 | 2024-07-30 | 18 | No |  | 0.43 | 0.018
16 | 2024-08-28 | 18 | No |  | 0.45 | 0.016
17 | 2024-07-31 | 17 | No |  | 0.47 | 0.016
18 | 2024-07-18 | 18 | No |  | 0.5 | 0.023
19 | 2024-07-13 | 18 | No |  | 0.52 | 0.023
20 | 2024-07-05 | 17 | No |  | 0.54 | 0.012
21 | 2024-07-22 | 18 | No |  | 0.56 | 0.017
22 | 2024-07-06 | 18 | No |  | 0.58 | 0.014
23 | 2024-08-09 | 18 | No |  | 0.6 | 0.015
24 | 2024-08-04 | 17 | No |  | 0.62 | 0.01
25 | 2024-07-21 | 18 | No |  | 0.64 | 0.018
26 | 2024-08-10 | 18 | No |  | 0.66 | 0.018
27 | 2024-08-27 | 18 | No |  | 0.68 | 0.017
28 | 2024-07-19 | 18 | No |  | 0.71 | 0.021
29 | 2024-08-19 | 18 | No |  | 0.73 | 0.013
30 | 2024-07-20 | 18 | No |  | 0.74 | 0.012
31 | 2024-07-25 | 18 | No |  | 0.76 | 0.016
32 | 2024-08-14 | 18 | No |  | 0.78 | 0.01
33 | 2024-07-26 | 18 | No |  | 0.79 | 0.007
34 | 2024-07-02 | 18 | No |  | 0.8 | 0.013
35 | 2024-07-23 | 18 | No |  | 0.82 | 0.018
36 | 2024-07-27 | 18 | No |  | 0.84 | 0.01
37 | 2024-08-15 | 16 | No |  | 0.85 | 0.009
38 | 2024-07-03 | 18 | No |  | 0.86 | 0.007
39 | 2024-08-13 | 18 | No |  | 0.88 | 0.008
40 | 2024-08-11 | 18 | No |  | 0.89 | 0.009
41 | 2024-08-26 | 18 | No |  | 0.9 | 0.009
42 | 2024-07-28 | 18 | No |  | 0.92 | 0.008
43 | 2024-07-24 | 19 | No |  | 0.93 | 0.006
44 | 2024-07-01 | 19 | No |  | 0.95 | 0.007
45 | 2024-08-25 | 19 | No |  | 0.96 | 0.007
46 | 2024-08-16 | 18 | No |  | 0.97 | 0.008
47 | 2024-07-04 | 18 | No |  | 0.99 | 0.009
48 | 2024-08-06 | 10 | No |  | 1 | 0.004
49 | 2024-07-29 | 18 | No |  | 1.01 | 0.008
50 | 2024-08-12 | 18 | No |  | 1.03 | 0.007
51 | 2024-08-24 | 18 | No |  | 1.04 | 0.014
52 | 2024-08-29 | 18 | No |  | 1.05 | 0.003
53 | 2024-08-23 | 18 | No |  | 1.06 | 0.002
54 | 2024-08-31 | 19 | No |  | 1.07 | 0.004
55 | 2024-08-17 | 18 | No |  | 1.08 | 0.003
56 | 2024-08-18 | 19 | No |  | 1.09 | 0.003
57 | 2024-08-08 | 17 | No |  | 1.1 | 0.003
58 | 2024-08-07 | 19 | No |  | 1.11 | 0.002
59 | 2024-08-30 | 18 | No |  | 1.11 | -0.001
60 | 2024-08-22 | 19 | No |  | 1.12 | -0.002
61 | 2024-08-21 | 19 | No |  | 1.12 | 0.006
62 | 2024-08-20 | 19 | No |  | 1.12 | -0.002
Approach 1 |  |  |  |  | Sum of R×MW for S days, Subappendix C | 0.69329
Approach 2 |  |  |  |  | Sum of non-R values for S days, Subappendix C | 0
[5 empty] | R value for D days, Subappendix A | 0.06
[5 empty] | Residual Value | 0.06
[5 empty] | Residual value × Average curtailment | 0.6594
Average of approaches |  |  |  |  | Average of Curtailed Values and Residual Value | 0.67634
Note on F21: Reno, Jessica E: TD event called 17:00-20:00

## BYOT2025
Appendix K. DR Scaling Factor Calculator
For additional detail on these calculations, see AESC 2024 Appendix K
Inputs A | [6 empty] | Outputs
Select measure life | 3 | [5 empty] | Average curtailment (MW) | 8.1508 | Based on a 1-year curve
[7 empty] | Curtailment x load effect (MW) | 2.647
Inputs B | [6 empty] | Resulting scaling factor | 0.32475 | Multiply this scaling factor by (a) a measure's MW savings and (b) the uncleared capacity or uncleared capacity DRIPE value from AESC 2024 to produce (c) total benefits from uncleared capacity or uncleared capacity DRIPE. Note that this formula returns postitive values only (a calcuated negative value will appear as "0").
Enter in dates and hours for all peak events. Current dates and hours are based on peak dates and hours observed systemwide in 2020 and are shown as an example only. Peak hours and dates in future years will differ. Users of this tool may wish to update these days and hours if this tool is being used for retrospective purposes. One reduction may occur each day. Only the single highest-load hour that occurs within a calendar day is used in ISO New England's regression. If a curtailment occurred, select "Yes" in column E, and also enter the MW curtailed in column F.
#VALUE!
Peak Number | Date | Hour Ending | Curtailment occurred? | MW Curtailed | Appendix A Values | Appendix C Values
1 | 2025-07-29 | 19 | Yes | 10.1 | 0.03 | 0.032
2 | 2025-07-16 | 19 | Yes | 9.56 | 0.06 | 0.031
3 | 2025-07-30 | 19 | Yes | 11.03 | 0.1 | 0.025
4 | 2025-07-17 | 20 | Yes | 4.67 | 0.13 | 0.035
5 | 2025-07-15 | 20 | Yes | 6.57 | 0.16 | 0.026
6 | 2025-07-08 | 19 | Yes | 7.65 | 0.19 | 0.02
7 | 2025-07-28 | 19 | Yes | 10.06 | 0.22 | 0.022
8 | 2025-08-11 | 19 | No |  | 0.25 | 0.024
9 | 2025-07-01 | 19 | Yes | 7.26 | 0.27 | 0.021
10 | 2025-08-12 | 19 | Yes | 9.65 | 0.3 | 0.021
11 | 2025-08-14 | 19 | No |  | 0.33 | 0.02
12 | 2025-08-13 | 17 | No |  | 0.35 | 0.02
13 | 2025-07-25 | 15 | No |  | 0.38 | 0.027
14 | 2025-07-07 | 19 | Yes | 7.6 | 0.4 | 0.017
15 | 2025-07-06 | 19 | No |  | 0.43 | 0.018
16 | 2025-07-24 | 19 | Yes | 8.54 | 0.45 | 0.016
17 | 2025-08-17 | 18 | No |  | 0.47 | 0.016
18 | 2025-07-20 | 18 | No |  | 0.5 | 0.023
19 | 2025-07-14 | 19 | No |  | 0.52 | 0.023
20 | 2025-07-02 | 20 | Yes | 5.12 | 0.54 | 0.012
21 | 2025-07-03 | 18 | No |  | 0.56 | 0.017
22 | 2025-08-10 | 19 | No |  | 0.58 | 0.014
23 | 2025-07-09 | 20 | No |  | 0.6 | 0.015
24 | 2025-08-04 | 19 | No |  | 0.62 | 0.01
25 | 2025-08-15 | 19 | No |  | 0.64 | 0.018
26 | 2025-07-13 | 20 | No |  | 0.66 | 0.018
27 | 2025-07-11 | 19 | No |  | 0.68 | 0.017
28 | 2025-08-25 | 19 | No |  | 0.71 | 0.021
29 | 2025-08-16 | 19 | No |  | 0.73 | 0.013
30 | 2025-07-23 | 20 | No |  | 0.74 | 0.012
31 | 2025-07-12 | 19 | No |  | 0.76 | 0.016
32 | 2025-07-18 | 20 | No |  | 0.78 | 0.01
33 | 2025-07-19 | 20 | No |  | 0.79 | 0.007
34 | 2025-08-05 | 20 | No |  | 0.8 | 0.013
35 | 2025-07-31 | 14 | No |  | 0.82 | 0.018
36 | 2025-08-07 | 19 | No |  | 0.84 | 0.01
37 | 2025-08-08 | 19 | No |  | 0.85 | 0.009
38 | 2025-07-21 | 19 | No |  | 0.86 | 0.007
39 | 2025-07-26 | 19 | No |  | 0.88 | 0.008
40 | 2025-08-09 | 19 | No |  | 0.89 | 0.009
41 | 2025-07-27 | 21 | No |  | 0.9 | 0.009
42 | 2025-07-10 | 20 | No |  | 0.92 | 0.008
43 | 2025-08-03 | 19 | No |  | 0.93 | 0.006
44 | 2025-07-22 | 20 | No |  | 0.95 | 0.007
45 | 2025-07-05 | 20 | No |  | 0.96 | 0.007
46 | 2025-08-06 | 20 | No |  | 0.97 | 0.008
47 | 2025-08-24 | 20 | No |  | 0.99 | 0.009
48 | 2025-08-26 | 19 | No |  | 1 | 0.004
49 | 2025-08-23 | 19 | No |  | 1.01 | 0.008
50 | 2025-08-22 | 19 | No |  | 1.03 | 0.007
51 | 2025-08-18 | 19 | No |  | 1.04 | 0.014
52 | 2025-07-04 | 20 | No |  | 1.05 | 0.003
53 | 2025-08-27 | 20 | No |  | 1.06 | 0.002
54 | 2025-08-28 | 20 | No |  | 1.07 | 0.004
55 | 2025-08-19 | 19 | No |  | 1.08 | 0.003
56 | 2025-08-01 | 20 | No |  | 1.09 | 0.003
57 | 2025-08-02 | 20 | No |  | 1.1 | 0.003
58 | 2025-08-29 | 20 | No |  | 1.11 | 0.002
59 | 2025-08-21 | 20 | No |  | 1.11 | -0.001
60 | 2025-08-20 | 20 | No |  | 1.12 | -0.002
61 | 2025-08-31 | 20 | No |  | 1.12 | 0.006
62 | 2025-08-30 | 20 | No |  | 1.12 | -0.002
Approach 1 |  |  |  |  | Sum of R×MW for S days, Subappendix C | 2.2863
Approach 2 |  |  |  |  | Sum of non-R values for S days, Subappendix C | 0.171
[5 empty] | R value for D days, Subappendix A | 0.54
[5 empty] | Residual Value | 0.369
[5 empty] | Residual value × Average curtailment | 3.0077
Average of approaches |  |  |  |  | Average of Curtailed Values and Residual Value | 2.647
Note on E20: Archambault, Allison Rose: BES, EV, DD event from 17:00-19:00
Note on E21: Archambault, Allison Rose: BES, EV, DD event from 17:00-19:00
Note on E28: Archambault, Allison Rose: Events 5-7 or 5-8
Note on E29: Archambault, Allison Rose: Events 5-7 or 5-8
Note on E39: Reno, Jessica E: Events called 5-7
Note on E48: Reno, Jessica E: Events called 5-7pm
Note on E50: Reno, Jessica E: Events called 5-7pm
Note on E51: Archambault, Allison Rose: DD, BES, EV Events from 4-7pm
Note on E58: Reno, Jessica E: Events called 5-7pm

## BES 2025
Appendix K. DR Scaling Factor Calculator
For additional detail on these calculations, see AESC 2024 Appendix K
Inputs A | [6 empty] | Outputs
Select measure life | 3 | [5 empty] | Average curtailment (MW) | 4.6855 | Based on a 1-year curve
[7 empty] | Curtailment x load effect (MW) | 3.0969
Inputs B | [6 empty] | Resulting scaling factor | 0.66096 | Multiply this scaling factor by (a) a measure's MW savings and (b) the uncleared capacity or uncleared capacity DRIPE value from AESC 2024 to produce (c) total benefits from uncleared capacity or uncleared capacity DRIPE. Note that this formula returns postitive values only (a calcuated negative value will appear as "0").
Enter in dates and hours for all peak events. Current dates and hours are based on peak dates and hours observed systemwide in 2020 and are shown as an example only. Peak hours and dates in future years will differ. Users of this tool may wish to update these days and hours if this tool is being used for retrospective purposes. One reduction may occur each day. Only the single highest-load hour that occurs within a calendar day is used in ISO New England's regression. If a curtailment occurred, select "Yes" in column E, and also enter the MW curtailed in column F.
#VALUE!
Peak Number | Date | Hour Ending | Curtailment occurred? | MW Curtailed | Appendix A Values | Appendix C Values
1 | 2025-07-29 | 19 | Yes | 5.57 | 0.03 | 0.032
2 | 2025-07-16 | 19 | Yes | 6.04 | 0.06 | 0.031
3 | 2025-07-30 | 19 | Yes | 5.61 | 0.1 | 0.025
4 | 2025-07-17 | 20 | No |  | 0.13 | 0.035
5 | 2025-07-15 | 20 | No |  | 0.16 | 0.026
6 | 2025-07-08 | 19 | Yes | 2.33 | 0.19 | 0.02
7 | 2025-07-28 | 19 | Yes | 4.5 | 0.22 | 0.022
8 | 2025-08-11 | 19 | Yes | 5.92 | 0.25 | 0.024
9 | 2025-07-01 | 19 | Yes | 4.42 | 0.27 | 0.021
10 | 2025-08-12 | 19 | Yes | 5.86 | 0.3 | 0.021
11 | 2025-08-14 | 19 | Yes | 5.7 | 0.33 | 0.02
12 | 2025-08-13 | 17 | No |  | 0.35 | 0.02
13 | 2025-07-25 | 15 | No |  | 0.38 | 0.027
14 | 2025-07-07 | 19 | Yes | 5.36 | 0.4 | 0.017
15 | 2025-07-06 | 19 | Yes | 4.36 | 0.43 | 0.018
16 | 2025-07-24 | 19 | Yes | 5.85 | 0.45 | 0.016
17 | 2025-08-17 | 18 | Yes | 4.56 | 0.47 | 0.016
18 | 2025-07-20 | 18 | Yes | 5.21 | 0.5 | 0.023
19 | 2025-07-14 | 19 | Yes | 4.12 | 0.52 | 0.023
20 | 2025-07-02 | 20 | No |  | 0.54 | 0.012
21 | 2025-07-03 | 18 | Yes | 4.47 | 0.56 | 0.017
22 | 2025-08-10 | 19 | Yes | 4.48 | 0.58 | 0.014
23 | 2025-07-09 | 20 | No |  | 0.6 | 0.015
24 | 2025-08-04 | 19 | Yes | 3.38 | 0.62 | 0.01
25 | 2025-08-15 | 19 | Yes | 5.91 | 0.64 | 0.018
26 | 2025-07-13 | 20 | Yes | 3.11 | 0.66 | 0.018
27 | 2025-07-11 | 19 | Yes | 5.71 | 0.68 | 0.017
28 | 2025-08-25 | 19 | Yes | 4.57 | 0.71 | 0.021
29 | 2025-08-16 | 19 | Yes | 5.9 | 0.73 | 0.013
30 | 2025-07-23 | 20 | Yes | 3.26 | 0.74 | 0.012
31 | 2025-07-12 | 19 | Yes | 4.49 | 0.76 | 0.016
32 | 2025-07-18 | 20 | No |  | 0.78 | 0.01
33 | 2025-07-19 | 20 | No |  | 0.79 | 0.007
34 | 2025-08-05 | 20 | No |  | 0.8 | 0.013
35 | 2025-07-31 | 14 | No |  | 0.82 | 0.018
36 | 2025-08-07 | 19 | Yes | 4.63 | 0.84 | 0.01
37 | 2025-08-08 | 19 | No |  | 0.85 | 0.009
38 | 2025-07-21 | 19 | No |  | 0.86 | 0.007
39 | 2025-07-26 | 19 | Yes | 5.86 | 0.88 | 0.008
40 | 2025-08-09 | 19 | No |  | 0.89 | 0.009
41 | 2025-07-27 | 21 | No |  | 0.9 | 0.009
42 | 2025-07-10 | 20 | No |  | 0.92 | 0.008
43 | 2025-08-03 | 19 | No |  | 0.93 | 0.006
44 | 2025-07-22 | 20 | No |  | 0.95 | 0.007
45 | 2025-07-05 | 20 | Yes | 3.12 | 0.96 | 0.007
46 | 2025-08-06 | 20 | Yes | 3.13 | 0.97 | 0.008
47 | 2025-08-24 | 20 | Yes | 3.14 | 0.99 | 0.009
48 | 2025-08-26 | 19 | No |  | 1 | 0.004
49 | 2025-08-23 | 19 | Yes | 4.68 | 1.01 | 0.008
50 | 2025-08-22 | 19 | No |  | 1.03 | 0.007
51 | 2025-08-18 | 19 | No |  | 1.04 | 0.014
52 | 2025-07-04 | 20 | No |  | 1.05 | 0.003
53 | 2025-08-27 | 20 | No |  | 1.06 | 0.002
54 | 2025-08-28 | 20 | No |  | 1.07 | 0.004
55 | 2025-08-19 | 19 | No |  | 1.08 | 0.003
56 | 2025-08-01 | 20 | No |  | 1.09 | 0.003
57 | 2025-08-02 | 20 | No |  | 1.1 | 0.003
58 | 2025-08-29 | 20 | No |  | 1.11 | 0.002
59 | 2025-08-21 | 20 | No |  | 1.11 | -0.001
60 | 2025-08-20 | 20 | No |  | 1.12 | -0.002
61 | 2025-08-31 | 20 | No |  | 1.12 | 0.006
62 | 2025-08-30 | 20 | No |  | 1.12 | -0.002
Approach 1 |  |  |  |  | Sum of R×MW for S days, Subappendix C | 2.5954
Approach 2 |  |  |  |  | Sum of non-R values for S days, Subappendix C | 0.242
[5 empty] | R value for D days, Subappendix A | 1.01
[5 empty] | Residual Value | 0.768
[5 empty] | Residual value × Average curtailment | 3.5985
Average of approaches |  |  |  |  | Average of Curtailed Values and Residual Value | 3.0969
Note on E20: Archambault, Allison Rose: BES, EV, DD event from 17:00-19:00
Note on E21: Archambault, Allison Rose: BES, EV, DD event from 17:00-19:00
Note on E28: Archambault, Allison Rose: Events 5-7 or 5-8
Note on E29: Archambault, Allison Rose: Events 5-7 or 5-8
Note on E39: Reno, Jessica E: Events called 5-7
Note on E48: Reno, Jessica E: Events called 5-7pm
Note on E50: Reno, Jessica E: Events called 5-7pm
Note on E51: Archambault, Allison Rose: DD, BES, EV Events from 4-7pm
Note on E58: Reno, Jessica E: Events called 5-7pm

## EV+EVSE2025
Appendix K. DR Scaling Factor Calculator
For additional detail on these calculations, see AESC 2024 Appendix K
Inputs A | [6 empty] | Outputs
Select measure life | 3 | [5 empty] | Average curtailment (MW) | 0.10844 | Based on a 1-year curve
[7 empty] | Curtailment x load effect (MW) | 0.074718
Inputs B | [6 empty] | Resulting scaling factor | 0.68904 | Multiply this scaling factor by (a) a measure's MW savings and (b) the uncleared capacity or uncleared capacity DRIPE value from AESC 2024 to produce (c) total benefits from uncleared capacity or uncleared capacity DRIPE. Note that this formula returns postitive values only (a calcuated negative value will appear as "0").
Enter in dates and hours for all peak events. Current dates and hours are based on peak dates and hours observed systemwide in 2020 and are shown as an example only. Peak hours and dates in future years will differ. Users of this tool may wish to update these days and hours if this tool is being used for retrospective purposes. One reduction may occur each day. Only the single highest-load hour that occurs within a calendar day is used in ISO New England's regression. If a curtailment occurred, select "Yes" in column E, and also enter the MW curtailed in column F.
#VALUE!
Peak Number | Date | Hour Ending | Curtailment occurred? | MW Curtailed | Appendix A Values | Appendix C Values
1 | 2025-07-29 | 19 | Yes | 0.16 | 0.03 | 0.032
2 | 2025-07-16 | 19 | Yes | 0.12 | 0.06 | 0.031
3 | 2025-07-30 | 19 | Yes | 0.13 | 0.1 | 0.025
4 | 2025-07-17 | 20 | Yes | 0.08 | 0.13 | 0.035
5 | 2025-07-15 | 20 | No |  | 0.16 | 0.026
6 | 2025-07-08 | 19 | Yes | 0.08 | 0.19 | 0.02
7 | 2025-07-28 | 19 | Yes | 0.12 | 0.22 | 0.022
8 | 2025-08-11 | 19 | Yes | 0.11 | 0.25 | 0.024
9 | 2025-07-01 | 19 | Yes | 0.08 | 0.27 | 0.021
10 | 2025-08-12 | 19 | Yes | 0.09 | 0.3 | 0.021
11 | 2025-08-14 | 19 | Yes | 0.1 | 0.33 | 0.02
12 | 2025-08-13 | 17 | No |  | 0.35 | 0.02
13 | 2025-07-25 | 15 | No |  | 0.38 | 0.027
14 | 2025-07-07 | 19 | Yes | 0.11 | 0.4 | 0.017
15 | 2025-07-06 | 19 | Yes | 0.08 | 0.43 | 0.018
16 | 2025-07-24 | 19 | Yes | 0.1 | 0.45 | 0.016
17 | 2025-08-17 | 18 | Yes | 0.11 | 0.47 | 0.016
18 | 2025-07-20 | 18 | Yes | 0.11 | 0.5 | 0.023
19 | 2025-07-14 | 19 | Yes | 0.1 | 0.52 | 0.023
20 | 2025-07-02 | 20 | No |  | 0.54 | 0.012
21 | 2025-07-03 | 18 | Yes | 0.12 | 0.56 | 0.017
22 | 2025-08-10 | 19 | Yes | 0.12 | 0.58 | 0.014
23 | 2025-07-09 | 20 | No |  | 0.6 | 0.015
24 | 2025-08-04 | 19 | Yes | 0.07 | 0.62 | 0.01
25 | 2025-08-15 | 19 | Yes | 0.11 | 0.64 | 0.018
26 | 2025-07-13 | 20 | Yes | 0.13 | 0.66 | 0.018
27 | 2025-07-11 | 19 | Yes | 0.15 | 0.68 | 0.017
28 | 2025-08-25 | 19 | Yes | 0.13 | 0.71 | 0.021
29 | 2025-08-16 | 19 | Yes | 0.11 | 0.73 | 0.013
30 | 2025-07-23 | 20 | Yes | 0.08 | 0.74 | 0.012
31 | 2025-07-12 | 19 | Yes | 0.09 | 0.76 | 0.016
32 | 2025-07-18 | 20 | No |  | 0.78 | 0.01
33 | 2025-07-19 | 20 | No |  | 0.79 | 0.007
34 | 2025-08-05 | 20 | No |  | 0.8 | 0.013
35 | 2025-07-31 | 14 | No |  | 0.82 | 0.018
36 | 2025-08-07 | 19 | Yes | 0.11 | 0.84 | 0.01
37 | 2025-08-08 | 19 | No |  | 0.85 | 0.009
38 | 2025-07-21 | 19 | No |  | 0.86 | 0.007
39 | 2025-07-26 | 19 | Yes | 0.08 | 0.88 | 0.008
40 | 2025-08-09 | 19 | No |  | 0.89 | 0.009
41 | 2025-07-27 | 21 | No |  | 0.9 | 0.009
42 | 2025-07-10 | 20 | No |  | 0.92 | 0.008
43 | 2025-08-03 | 19 | No |  | 0.93 | 0.006
44 | 2025-07-22 | 20 | No |  | 0.95 | 0.007
45 | 2025-07-05 | 20 | Yes | 0.11 | 0.96 | 0.007
46 | 2025-08-06 | 20 | Yes | 0.14 | 0.97 | 0.008
47 | 2025-08-24 | 20 | Yes | 0.12 | 0.99 | 0.009
48 | 2025-08-26 | 19 | No |  | 1 | 0.004
49 | 2025-08-23 | 19 | Yes | 0.12 | 1.01 | 0.008
50 | 2025-08-22 | 19 | No |  | 1.03 | 0.007
51 | 2025-08-18 | 19 | No |  | 1.04 | 0.014
52 | 2025-07-04 | 20 | No |  | 1.05 | 0.003
53 | 2025-08-27 | 20 | No |  | 1.06 | 0.002
54 | 2025-08-28 | 20 | No |  | 1.07 | 0.004
55 | 2025-08-19 | 19 | No |  | 1.08 | 0.003
56 | 2025-08-01 | 20 | No |  | 1.09 | 0.003
57 | 2025-08-02 | 20 | No |  | 1.1 | 0.003
58 | 2025-08-29 | 20 | No |  | 1.11 | 0.002
59 | 2025-08-21 | 20 | No |  | 1.11 | -0.001
60 | 2025-08-20 | 20 | No |  | 1.12 | -0.002
61 | 2025-08-31 | 20 | No |  | 1.12 | 0.006
62 | 2025-08-30 | 20 | No |  | 1.12 | -0.002
Approach 1 |  |  |  |  | Sum of R×MW for S days, Subappendix C | 0.06236
Approach 2 |  |  |  |  | Sum of non-R values for S days, Subappendix C | 0.207
[5 empty] | R value for D days, Subappendix A | 1.01
[5 empty] | Residual Value | 0.803
[5 empty] | Residual value × Average curtailment | 0.087075
Average of approaches |  |  |  |  | Average of Curtailed Values and Residual Value | 0.074718
Note on E20: Archambault, Allison Rose: BES, EV, DD event from 17:00-19:00
Note on E21: Archambault, Allison Rose: BES, EV, DD event from 17:00-19:00
Note on E28: Archambault, Allison Rose: Events 5-7 or 5-8
Note on E29: Archambault, Allison Rose: Events 5-7 or 5-8
Note on E36: EV event 17:00-19:00
Note on E39: Reno, Jessica E: Events called 5-7
Note on E48: Reno, Jessica E: Events called 5-7pm
Note on E50: Reno, Jessica E: Events called 5-7pm
Note on E51: Archambault, Allison Rose: DD, BES, EV Events from 4-7pm
Note on E58: Reno, Jessica E: Events called 5-7pm

## Daily Dispatch 2025
Appendix K. DR Scaling Factor Calculator
For additional detail on these calculations, see AESC 2024 Appendix K
Inputs A | [6 empty] | Outputs
Select measure life | 3 | [5 empty] | Average curtailment (MW) | 10432.5046 | Based on a 1-year curve
[7 empty] | Curtailment x load effect (MW) | 6880.9742
Inputs B | [6 empty] | Resulting scaling factor | 0.65957 | Multiply this scaling factor by (a) a measure's MW savings and (b) the uncleared capacity or uncleared capacity DRIPE value from AESC 2024 to produce (c) total benefits from uncleared capacity or uncleared capacity DRIPE. Note that this formula returns postitive values only (a calcuated negative value will appear as "0").
Enter in dates and hours for all peak events. Current dates and hours are based on peak dates and hours observed systemwide in 2020 and are shown as an example only. Peak hours and dates in future years will differ. Users of this tool may wish to update these days and hours if this tool is being used for retrospective purposes. One reduction may occur each day. Only the single highest-load hour that occurs within a calendar day is used in ISO New England's regression. If a curtailment occurred, select "Yes" in column E, and also enter the MW curtailed in column F.
#VALUE!
Peak Number | Date | Hour Ending | Curtailment occurred? | MW Curtailed | Appendix A Values | Appendix C Values
1 | 2025-07-29 | 19 | Yes | 14768.617 | 0.03 | 0.032
2 | 2025-07-16 | 19 | Yes | 11024.626 | 0.06 | 0.031
3 | 2025-07-30 | 19 | Yes | 11181.922 | 0.1 | 0.025
4 | 2025-07-17 | 20 | No |  | 0.13 | 0.035
5 | 2025-07-15 | 20 | No |  | 0.16 | 0.026
6 | 2025-07-08 | 19 | Yes | 12312.593 | 0.19 | 0.02
7 | 2025-07-28 | 19 | Yes | 13471.06 | 0.22 | 0.022
8 | 2025-08-11 | 19 | Yes | 9372.547 | 0.25 | 0.024
9 | 2025-07-01 | 19 | Yes | 13057.388 | 0.27 | 0.021
10 | 2025-08-12 | 19 | Yes | 11442.535 | 0.3 | 0.021
11 | 2025-08-14 | 19 | Yes | 11150.307 | 0.33 | 0.02
12 | 2025-08-13 | 17 | No |  | 0.35 | 0.02
13 | 2025-07-25 | 15 | No |  | 0.38 | 0.027
14 | 2025-07-07 | 19 | Yes | 14097.602 | 0.4 | 0.017
15 | 2025-07-06 | 19 | Yes | 8235.868 | 0.43 | 0.018
16 | 2025-07-24 | 19 | Yes | 14989.823 | 0.45 | 0.016
17 | 2025-08-17 | 18 | Yes | 6307.723 | 0.47 | 0.016
18 | 2025-07-20 | 18 | Yes | 6690.255 | 0.5 | 0.023
19 | 2025-07-14 | 19 | Yes | 12221.83 | 0.52 | 0.023
20 | 2025-07-02 | 20 | No |  | 0.54 | 0.012
21 | 2025-07-03 | 18 | Yes | 10102.457 | 0.56 | 0.017
22 | 2025-08-10 | 19 | Yes | 6669.117 | 0.58 | 0.014
23 | 2025-07-09 | 20 | No |  | 0.6 | 0.015
24 | 2025-08-04 | 19 | Yes | 10536.174 | 0.62 | 0.01
25 | 2025-08-15 | 19 | Yes | 9110.308 | 0.64 | 0.018
26 | 2025-07-13 | 20 | Yes | 12182.832 | 0.66 | 0.018
27 | 2025-07-11 | 19 | Yes | 9490.531 | 0.68 | 0.017
28 | 2025-08-25 | 19 | Yes | 7682.522 | 0.71 | 0.021
29 | 2025-08-16 | 19 | Yes | 6700.523 | 0.73 | 0.013
30 | 2025-07-23 | 20 | Yes | 13855.637 | 0.74 | 0.012
31 | 2025-07-12 | 19 | Yes | 11930.773 | 0.76 | 0.016
32 | 2025-07-18 | 20 | No |  | 0.78 | 0.01
33 | 2025-07-19 | 20 | No |  | 0.79 | 0.007
34 | 2025-08-05 | 20 | No |  | 0.8 | 0.013
35 | 2025-07-31 | 14 | No |  | 0.82 | 0.018
36 | 2025-08-07 | 19 | Yes | 12726.679 | 0.84 | 0.01
37 | 2025-08-08 | 19 | No |  | 0.85 | 0.009
38 | 2025-07-21 | 19 | No |  | 0.86 | 0.007
39 | 2025-07-26 | 19 | Yes | 6496.644 | 0.88 | 0.008
40 | 2025-08-09 | 19 | No |  | 0.89 | 0.009
41 | 2025-07-27 | 21 | No |  | 0.9 | 0.009
42 | 2025-07-10 | 20 | No |  | 0.92 | 0.008
43 | 2025-08-03 | 19 | No |  | 0.93 | 0.006
44 | 2025-07-22 | 20 | No |  | 0.95 | 0.007
45 | 2025-07-05 | 20 | Yes | 5627.339 | 0.96 | 0.007
46 | 2025-08-06 | 20 | Yes | 14796.493 | 0.97 | 0.008
47 | 2025-08-24 | 20 | Yes | 8084.216 | 0.99 | 0.009
48 | 2025-08-26 | 19 | No |  | 1 | 0.004
49 | 2025-08-23 | 19 | Yes | 7090.703 | 1.01 | 0.008
50 | 2025-08-22 | 19 | No |  | 1.03 | 0.007
51 | 2025-08-18 | 19 | No |  | 1.04 | 0.014
52 | 2025-07-04 | 20 | No |  | 1.05 | 0.003
53 | 2025-08-27 | 20 | No |  | 1.06 | 0.002
54 | 2025-08-28 | 20 | No |  | 1.07 | 0.004
55 | 2025-08-19 | 19 | No |  | 1.08 | 0.003
56 | 2025-08-01 | 20 | No |  | 1.09 | 0.003
57 | 2025-08-02 | 20 | No |  | 1.1 | 0.003
58 | 2025-08-29 | 20 | No |  | 1.11 | 0.002
59 | 2025-08-21 | 20 | No |  | 1.11 | -0.001
60 | 2025-08-20 | 20 | No |  | 1.12 | -0.002
61 | 2025-08-31 | 20 | No |  | 1.12 | 0.006
62 | 2025-08-30 | 20 | No |  | 1.12 | -0.002
Approach 1 |  |  |  |  | Sum of R×MW for S days, Subappendix C | 5749.7849
Approach 2 |  |  |  |  | Sum of non-R values for S days, Subappendix C | 0.242
[5 empty] | R value for D days, Subappendix A | 1.01
[5 empty] | Residual Value | 0.768
[5 empty] | Residual value × Average curtailment | 8012.1636
Average of approaches |  |  |  |  | Average of Curtailed Values and Residual Value | 6880.9742
Note on E28: Archambault, Allison Rose: Events 5-7 or 5-8
Note on E29: Archambault, Allison Rose: Events 5-7 or 5-8
Note on E39: Reno, Jessica E: Events called 5-7
Note on E48: Reno, Jessica E: Events called 5-7pm
Note on E50: Reno, Jessica E: Events called 5-7pm
Note on E51: Archambault, Allison Rose: DD, BES, EV Events from 4-7pm
Note on E58: Reno, Jessica E: Events called 5-7pm

## Targeted Dispatch 2025
Appendix K. DR Scaling Factor Calculator
For additional detail on these calculations, see AESC 2024 Appendix K
Inputs A | [6 empty] | Outputs
Select measure life | 3 | [5 empty] | Average curtailment (MW) | 5446.3835 | Based on a 1-year curve
[7 empty] | Curtailment x load effect (MW) | 335.5202
Inputs B | [6 empty] | Resulting scaling factor | 0.061604 | Multiply this scaling factor by (a) a measure's MW savings and (b) the uncleared capacity or uncleared capacity DRIPE value from AESC 2024 to produce (c) total benefits from uncleared capacity or uncleared capacity DRIPE. Note that this formula returns postitive values only (a calcuated negative value will appear as "0").
Enter in dates and hours for all peak events. Current dates and hours are based on peak dates and hours observed systemwide in 2020 and are shown as an example only. Peak hours and dates in future years will differ. Users of this tool may wish to update these days and hours if this tool is being used for retrospective purposes. One reduction may occur each day. Only the single highest-load hour that occurs within a calendar day is used in ISO New England's regression. If a curtailment occurred, select "Yes" in column E, and also enter the MW curtailed in column F.
#VALUE!
Peak Number | Date | Hour Ending | Curtailment occurred? | MW Curtailed | Appendix A Values | Appendix C Values
1 | 2025-07-29 | 19 | Yes | 6581.586 | 0.03 | 0.032
2 | 2025-07-16 | 19 | Yes | 4311.181 | 0.06 | 0.031
3 | 2025-07-30 | 19 | No |  | 0.1 | 0.025
4 | 2025-07-17 | 20 | No |  | 0.13 | 0.035
5 | 2025-07-15 | 20 | No |  | 0.16 | 0.026
6 | 2025-07-08 | 19 | No |  | 0.19 | 0.02
7 | 2025-07-28 | 19 | No |  | 0.22 | 0.022
8 | 2025-08-11 | 19 | No |  | 0.25 | 0.024
9 | 2025-07-01 | 19 | No |  | 0.27 | 0.021
10 | 2025-08-12 | 19 | No |  | 0.3 | 0.021
11 | 2025-08-14 | 19 | No |  | 0.33 | 0.02
12 | 2025-08-13 | 17 | No |  | 0.35 | 0.02
13 | 2025-07-25 | 15 | No |  | 0.38 | 0.027
14 | 2025-07-07 | 19 | No | 7246.046 | 0.4 | 0.017
15 | 2025-07-06 | 19 | No |  | 0.43 | 0.018
16 | 2025-07-24 | 19 | No |  | 0.45 | 0.016
17 | 2025-08-17 | 18 | No |  | 0.47 | 0.016
18 | 2025-07-20 | 18 | No |  | 0.5 | 0.023
19 | 2025-07-14 | 19 | No |  | 0.52 | 0.023
20 | 2025-07-02 | 20 | No |  | 0.54 | 0.012
21 | 2025-07-03 | 18 | No |  | 0.56 | 0.017
22 | 2025-08-10 | 19 | No |  | 0.58 | 0.014
23 | 2025-07-09 | 20 | No |  | 0.6 | 0.015
24 | 2025-08-04 | 19 | No |  | 0.62 | 0.01
25 | 2025-08-15 | 19 | No |  | 0.64 | 0.018
26 | 2025-07-13 | 20 | No |  | 0.66 | 0.018
27 | 2025-07-11 | 19 | No |  | 0.68 | 0.017
28 | 2025-08-25 | 19 | No |  | 0.71 | 0.021
29 | 2025-08-16 | 19 | No |  | 0.73 | 0.013
30 | 2025-07-23 | 20 | No |  | 0.74 | 0.012
31 | 2025-07-12 | 19 | No |  | 0.76 | 0.016
32 | 2025-07-18 | 20 | No |  | 0.78 | 0.01
33 | 2025-07-19 | 20 | No |  | 0.79 | 0.007
34 | 2025-08-05 | 20 | No |  | 0.8 | 0.013
35 | 2025-07-31 | 14 | No |  | 0.82 | 0.018
36 | 2025-08-07 | 19 | No |  | 0.84 | 0.01
37 | 2025-08-08 | 19 | No |  | 0.85 | 0.009
38 | 2025-07-21 | 19 | No |  | 0.86 | 0.007
39 | 2025-07-26 | 19 | No |  | 0.88 | 0.008
40 | 2025-08-09 | 19 | No |  | 0.89 | 0.009
41 | 2025-07-27 | 21 | No |  | 0.9 | 0.009
42 | 2025-07-10 | 20 | No |  | 0.92 | 0.008
43 | 2025-08-03 | 19 | No |  | 0.93 | 0.006
44 | 2025-07-22 | 20 | No |  | 0.95 | 0.007
45 | 2025-07-05 | 20 | No |  | 0.96 | 0.007
46 | 2025-08-06 | 20 | No |  | 0.97 | 0.008
47 | 2025-08-24 | 20 | No |  | 0.99 | 0.009
48 | 2025-08-26 | 19 | No |  | 1 | 0.004
49 | 2025-08-23 | 19 | No |  | 1.01 | 0.008
50 | 2025-08-22 | 19 | No |  | 1.03 | 0.007
51 | 2025-08-18 | 19 | No |  | 1.04 | 0.014
52 | 2025-07-04 | 20 | No |  | 1.05 | 0.003
53 | 2025-08-27 | 20 | No |  | 1.06 | 0.002
54 | 2025-08-28 | 20 | No |  | 1.07 | 0.004
55 | 2025-08-19 | 19 | No |  | 1.08 | 0.003
56 | 2025-08-01 | 20 | No |  | 1.09 | 0.003
57 | 2025-08-02 | 20 | No |  | 1.1 | 0.003
58 | 2025-08-29 | 20 | No |  | 1.11 | 0.002
59 | 2025-08-21 | 20 | No |  | 1.11 | -0.001
60 | 2025-08-20 | 20 | No |  | 1.12 | -0.002
61 | 2025-08-31 | 20 | No |  | 1.12 | 0.006
62 | 2025-08-30 | 20 | No |  | 1.12 | -0.002
Approach 1 |  |  |  |  | Sum of R×MW for S days, Subappendix C | 344.2574
Approach 2 |  |  |  |  | Sum of non-R values for S days, Subappendix C | 0
[5 empty] | R value for D days, Subappendix A | 0.06
[5 empty] | Residual Value | 0.06
[5 empty] | Residual value × Average curtailment | 326.783
Average of approaches |  |  |  |  | Average of Curtailed Values and Residual Value | 335.5202
Note on E28: Archambault, Allison Rose: Events 5-7 or 5-8
Note on E29: Archambault, Allison Rose: Events 5-7 or 5-8
Note on E39: Reno, Jessica E: Events called 5-7
Note on E48: Reno, Jessica E: Events called 5-7pm
Note on E50: Reno, Jessica E: Events called 5-7pm
Note on E51: Archambault, Allison Rose: DD, BES, EV Events from 4-7pm
Note on E58: Reno, Jessica E: Events called 5-7pm

## SubappendixA
Subappendix A. Ratio of forecast reduction to load reduction
Years of Reductions
Days | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
1 | 0.01 | 0.02 | 0.03 | 0.05 | 0.05 | 0.06 | 0.07 | 0.08 | 0.08 | 0.09 | 0.1 | 0.1 | 0.1 | 0.11 | 0.11
2 | 0.03 | 0.05 | 0.06 | 0.09 | 0.1 | 0.13 | 0.14 | 0.15 | 0.16 | 0.17 | 0.18 | 0.19 | 0.2 | 0.2 | 0.2
3 | 0.04 | 0.07 | 0.1 | 0.13 | 0.15 | 0.17 | 0.2 | 0.22 | 0.23 | 0.25 | 0.26 | 0.28 | 0.28 | 0.29 | 0.29
4 | 0.05 | 0.09 | 0.13 | 0.17 | 0.19 | 0.23 | 0.26 | 0.29 | 0.3 | 0.32 | 0.34 | 0.36 | 0.36 | 0.37 | 0.37
5 | 0.06 | 0.11 | 0.16 | 0.22 | 0.24 | 0.28 | 0.32 | 0.35 | 0.37 | 0.39 | 0.41 | 0.44 | 0.44 | 0.44 | 0.45
6 | 0.07 | 0.13 | 0.19 | 0.25 | 0.28 | 0.32 | 0.37 | 0.41 | 0.43 | 0.45 | 0.48 | 0.5 | 0.5 | 0.5 | 0.52
7 | 0.08 | 0.15 | 0.22 | 0.29 | 0.33 | 0.38 | 0.43 | 0.47 | 0.49 | 0.51 | 0.54 | 0.57 | 0.57 | 0.57 | 0.58
8 | 0.09 | 0.17 | 0.25 | 0.33 | 0.36 | 0.42 | 0.48 | 0.53 | 0.55 | 0.57 | 0.61 | 0.64 | 0.64 | 0.63 | 0.65
9 | 0.1 | 0.19 | 0.27 | 0.37 | 0.4 | 0.47 | 0.53 | 0.58 | 0.61 | 0.63 | 0.67 | 0.7 | 0.7 | 0.69 | 0.71
10 | 0.12 | 0.21 | 0.3 | 0.41 | 0.45 | 0.52 | 0.58 | 0.63 | 0.66 | 0.69 | 0.72 | 0.76 | 0.75 | 0.75 | 0.77
11 | 0.13 | 0.23 | 0.33 | 0.45 | 0.48 | 0.55 | 0.63 | 0.68 | 0.71 | 0.74 | 0.78 | 0.82 | 0.81 | 0.8 | 0.82
12 | 0.14 | 0.25 | 0.35 | 0.48 | 0.52 | 0.59 | 0.67 | 0.73 | 0.76 | 0.79 | 0.83 | 0.87 | 0.86 | 0.86 | 0.88
13 | 0.15 | 0.27 | 0.38 | 0.52 | 0.55 | 0.64 | 0.72 | 0.78 | 0.81 | 0.85 | 0.88 | 0.93 | 0.92 | 0.91 | 0.93
14 | 0.16 | 0.29 | 0.4 | 0.54 | 0.58 | 0.68 | 0.76 | 0.83 | 0.86 | 0.89 | 0.93 | 0.97 | 0.96 | 0.95 | 0.97
15 | 0.17 | 0.31 | 0.43 | 0.58 | 0.62 | 0.71 | 0.8 | 0.87 | 0.9 | 0.94 | 0.98 | 1.03 | 1.01 | 1 | 1.02
16 | 0.18 | 0.33 | 0.45 | 0.6 | 0.65 | 0.75 | 0.84 | 0.91 | 0.95 | 0.98 | 1.02 | 1.07 | 1.06 | 1.04 | 1.06
17 | 0.19 | 0.34 | 0.47 | 0.63 | 0.68 | 0.78 | 0.88 | 0.95 | 0.99 | 1.02 | 1.07 | 1.12 | 1.1 | 1.08 | 1.1
18 | 0.2 | 0.36 | 0.5 | 0.66 | 0.7 | 0.81 | 0.91 | 0.99 | 1.03 | 1.07 | 1.11 | 1.17 | 1.15 | 1.13 | 1.14
19 | 0.2 | 0.38 | 0.52 | 0.69 | 0.73 | 0.84 | 0.95 | 1.04 | 1.07 | 1.11 | 1.15 | 1.21 | 1.19 | 1.17 | 1.18
20 | 0.21 | 0.39 | 0.54 | 0.71 | 0.77 | 0.88 | 0.99 | 1.07 | 1.11 | 1.15 | 1.2 | 1.26 | 1.23 | 1.21 | 1.22
21 | 0.22 | 0.41 | 0.56 | 0.74 | 0.8 | 0.92 | 1.03 | 1.12 | 1.16 | 1.2 | 1.24 | 1.3 | 1.27 | 1.25 | 1.26
22 | 0.23 | 0.42 | 0.58 | 0.77 | 0.82 | 0.94 | 1.06 | 1.15 | 1.19 | 1.23 | 1.27 | 1.33 | 1.3 | 1.28 | 1.29
23 | 0.24 | 0.44 | 0.6 | 0.79 | 0.85 | 0.96 | 1.09 | 1.19 | 1.23 | 1.27 | 1.31 | 1.37 | 1.34 | 1.31 | 1.32
24 | 0.25 | 0.45 | 0.62 | 0.82 | 0.87 | 0.98 | 1.12 | 1.21 | 1.26 | 1.29 | 1.34 | 1.4 | 1.36 | 1.33 | 1.34
25 | 0.25 | 0.47 | 0.64 | 0.84 | 0.89 | 1.01 | 1.15 | 1.25 | 1.29 | 1.33 | 1.37 | 1.43 | 1.4 | 1.36 | 1.37
26 | 0.27 | 0.49 | 0.66 | 0.86 | 0.91 | 1.04 | 1.18 | 1.28 | 1.32 | 1.36 | 1.4 | 1.47 | 1.42 | 1.39 | 1.39
27 | 0.28 | 0.5 | 0.68 | 0.89 | 0.95 | 1.07 | 1.22 | 1.32 | 1.36 | 1.4 | 1.44 | 1.5 | 1.46 | 1.42 | 1.42
28 | 0.29 | 0.52 | 0.71 | 0.92 | 0.97 | 1.11 | 1.25 | 1.35 | 1.39 | 1.43 | 1.47 | 1.53 | 1.48 | 1.44 | 1.44
29 | 0.3 | 0.54 | 0.73 | 0.94 | 1 | 1.14 | 1.28 | 1.38 | 1.42 | 1.46 | 1.49 | 1.56 | 1.51 | 1.46 | 1.46
30 | 0.3 | 0.55 | 0.74 | 0.96 | 1.02 | 1.15 | 1.31 | 1.41 | 1.45 | 1.49 | 1.52 | 1.58 | 1.53 | 1.48 | 1.47
31 | 0.31 | 0.56 | 0.76 | 0.98 | 1.04 | 1.18 | 1.33 | 1.44 | 1.48 | 1.51 | 1.54 | 1.61 | 1.55 | 1.49 | 1.48
32 | 0.32 | 0.58 | 0.78 | 1 | 1.06 | 1.21 | 1.36 | 1.47 | 1.5 | 1.54 | 1.57 | 1.63 | 1.57 | 1.51 | 1.49
33 | 0.32 | 0.59 | 0.79 | 1.02 | 1.07 | 1.22 | 1.38 | 1.49 | 1.53 | 1.56 | 1.59 | 1.66 | 1.59 | 1.52 | 1.5
34 | 0.33 | 0.6 | 0.8 | 1.04 | 1.09 | 1.25 | 1.41 | 1.52 | 1.55 | 1.59 | 1.61 | 1.68 | 1.6 | 1.53 | 1.51
35 | 0.34 | 0.61 | 0.82 | 1.06 | 1.11 | 1.27 | 1.43 | 1.54 | 1.58 | 1.61 | 1.63 | 1.7 | 1.62 | 1.54 | 1.51
36 | 0.35 | 0.62 | 0.84 | 1.08 | 1.13 | 1.29 | 1.46 | 1.57 | 1.6 | 1.63 | 1.65 | 1.71 | 1.63 | 1.55 | 1.52
37 | 0.35 | 0.64 | 0.85 | 1.1 | 1.16 | 1.31 | 1.49 | 1.59 | 1.62 | 1.65 | 1.67 | 1.73 | 1.65 | 1.57 | 1.53
38 | 0.36 | 0.65 | 0.86 | 1.12 | 1.17 | 1.34 | 1.51 | 1.61 | 1.64 | 1.67 | 1.69 | 1.75 | 1.66 | 1.58 | 1.53
39 | 0.37 | 0.66 | 0.88 | 1.14 | 1.19 | 1.35 | 1.53 | 1.63 | 1.66 | 1.69 | 1.71 | 1.77 | 1.67 | 1.58 | 1.53
40 | 0.37 | 0.67 | 0.89 | 1.15 | 1.21 | 1.36 | 1.55 | 1.65 | 1.68 | 1.71 | 1.72 | 1.78 | 1.68 | 1.59 | 1.53
41 | 0.38 | 0.68 | 0.9 | 1.17 | 1.22 | 1.39 | 1.57 | 1.67 | 1.69 | 1.72 | 1.73 | 1.79 | 1.68 | 1.59 | 1.53
42 | 0.39 | 0.69 | 0.92 | 1.19 | 1.23 | 1.41 | 1.59 | 1.69 | 1.71 | 1.73 | 1.74 | 1.8 | 1.69 | 1.59 | 1.52
43 | 0.39 | 0.7 | 0.93 | 1.2 | 1.25 | 1.42 | 1.61 | 1.7 | 1.72 | 1.75 | 1.76 | 1.81 | 1.69 | 1.59 | 1.52
44 | 0.4 | 0.71 | 0.95 | 1.21 | 1.26 | 1.44 | 1.63 | 1.72 | 1.74 | 1.76 | 1.77 | 1.82 | 1.7 | 1.6 | 1.52
45 | 0.41 | 0.73 | 0.96 | 1.23 | 1.28 | 1.46 | 1.64 | 1.74 | 1.75 | 1.77 | 1.78 | 1.83 | 1.7 | 1.6 | 1.51
46 | 0.42 | 0.74 | 0.97 | 1.25 | 1.3 | 1.48 | 1.66 | 1.76 | 1.77 | 1.79 | 1.79 | 1.84 | 1.71 | 1.6 | 1.5
47 | 0.42 | 0.75 | 0.99 | 1.27 | 1.31 | 1.49 | 1.68 | 1.77 | 1.78 | 1.8 | 1.79 | 1.84 | 1.7 | 1.58 | 1.48
48 | 0.42 | 0.76 | 1 | 1.27 | 1.32 | 1.5 | 1.7 | 1.78 | 1.79 | 1.8 | 1.79 | 1.84 | 1.69 | 1.57 | 1.46
49 | 0.43 | 0.77 | 1.01 | 1.29 | 1.33 | 1.52 | 1.71 | 1.79 | 1.8 | 1.8 | 1.79 | 1.84 | 1.68 | 1.55 | 1.44
50 | 0.44 | 0.78 | 1.03 | 1.31 | 1.34 | 1.53 | 1.73 | 1.81 | 1.81 | 1.81 | 1.8 | 1.84 | 1.68 | 1.54 | 1.42
51 | 0.45 | 0.79 | 1.04 | 1.32 | 1.35 | 1.55 | 1.73 | 1.82 | 1.82 | 1.81 | 1.8 | 1.83 | 1.66 | 1.53 | 1.4
52 | 0.45 | 0.8 | 1.05 | 1.33 | 1.36 | 1.55 | 1.74 | 1.82 | 1.82 | 1.81 | 1.79 | 1.82 | 1.65 | 1.51 | 1.37
53 | 0.45 | 0.8 | 1.06 | 1.34 | 1.37 | 1.56 | 1.74 | 1.82 | 1.81 | 1.8 | 1.78 | 1.81 | 1.63 | 1.48 | 1.34
54 | 0.46 | 0.82 | 1.07 | 1.35 | 1.38 | 1.57 | 1.75 | 1.82 | 1.82 | 1.8 | 1.77 | 1.8 | 1.61 | 1.46 | 1.31
55 | 0.46 | 0.82 | 1.08 | 1.36 | 1.39 | 1.57 | 1.75 | 1.83 | 1.82 | 1.8 | 1.77 | 1.79 | 1.6 | 1.45 | 1.29
56 | 0.47 | 0.83 | 1.09 | 1.37 | 1.4 | 1.58 | 1.76 | 1.83 | 1.82 | 1.79 | 1.75 | 1.78 | 1.58 | 1.42 | 1.26
57 | 0.48 | 0.84 | 1.1 | 1.38 | 1.4 | 1.59 | 1.77 | 1.83 | 1.82 | 1.79 | 1.75 | 1.76 | 1.56 | 1.4 | 1.23
58 | 0.48 | 0.85 | 1.11 | 1.39 | 1.41 | 1.6 | 1.77 | 1.83 | 1.82 | 1.78 | 1.73 | 1.75 | 1.55 | 1.37 | 1.2
59 | 0.48 | 0.86 | 1.11 | 1.4 | 1.41 | 1.6 | 1.77 | 1.83 | 1.81 | 1.77 | 1.71 | 1.72 | 1.51 | 1.33 | 1.15
60 | 0.49 | 0.86 | 1.12 | 1.4 | 1.41 | 1.6 | 1.77 | 1.83 | 1.81 | 1.76 | 1.69 | 1.7 | 1.48 | 1.3 | 1.11
61 | 0.49 | 0.86 | 1.12 | 1.41 | 1.41 | 1.6 | 1.77 | 1.83 | 1.8 | 1.75 | 1.68 | 1.68 | 1.45 | 1.26 | 1.06
62 | 0.49 | 0.86 | 1.12 | 1.4 | 1.4 | 1.59 | 1.76 | 1.81 | 1.79 | 1.73 | 1.65 | 1.65 | 1.42 | 1.21 | 1

## SubappendixC
Subappendix C. Impact of individual day load reductions
Days | Years of Reductions
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
1 | 0.009 | 0.021 | 0.032 | 0.046 | 0.051 | 0.063 | 0.072 | 0.079 | 0.082 | 0.089 | 0.096 | 0.102 | 0.104 | 0.106 | 0.108
2 | 0.01 | 0.021 | 0.031 | 0.04 | 0.046 | 0.056 | 0.064 | 0.073 | 0.078 | 0.081 | 0.081 | 0.086 | 0.086 | 0.086 | 0.087
3 | 0.006 | 0.016 | 0.025 | 0.036 | 0.04 | 0.047 | 0.056 | 0.062 | 0.065 | 0.069 | 0.074 | 0.08 | 0.08 | 0.08 | 0.083
4 | 0.013 | 0.024 | 0.035 | 0.046 | 0.05 | 0.056 | 0.063 | 0.069 | 0.07 | 0.067 | 0.081 | 0.083 | 0.075 | 0.075 | 0.077
5 | 0.005 | 0.016 | 0.026 | 0.036 | 0.038 | 0.044 | 0.05 | 0.055 | 0.058 | 0.06 | 0.064 | 0.067 | 0.066 | 0.066 | 0.068
6 | 0.011 | 0.014 | 0.02 | 0.038 | 0.041 | 0.046 | 0.052 | 0.05 | 0.052 | 0.053 | 0.057 | 0.061 | 0.059 | 0.058 | 0.06
7 | 0.005 | 0.013 | 0.022 | 0.033 | 0.034 | 0.04 | 0.047 | 0.052 | 0.054 | 0.054 | 0.056 | 0.06 | 0.059 | 0.058 | 0.059
8 | 0.007 | 0.022 | 0.024 | 0.035 | 0.036 | 0.045 | 0.052 | 0.055 | 0.056 | 0.059 | 0.06 | 0.062 | 0.062 | 0.061 | 0.063
9 | 0.004 | 0.013 | 0.021 | 0.031 | 0.034 | 0.039 | 0.044 | 0.049 | 0.053 | 0.054 | 0.055 | 0.057 | 0.055 | 0.054 | 0.053
10 | 0.012 | 0.014 | 0.021 | 0.032 | 0.03 | 0.038 | 0.043 | 0.047 | 0.048 | 0.05 | 0.05 | 0.052 | 0.051 | 0.051 | 0.053
11 | 0.006 | 0.014 | 0.02 | 0.027 | 0.027 | 0.032 | 0.038 | 0.042 | 0.043 | 0.046 | 0.048 | 0.05 | 0.048 | 0.047 | 0.047
12 | 0.004 | 0.013 | 0.02 | 0.027 | 0.029 | 0.035 | 0.04 | 0.045 | 0.047 | 0.049 | 0.05 | 0.051 | 0.05 | 0.048 | 0.049
13 | 0.013 | 0.022 | 0.027 | 0.033 | 0.036 | 0.041 | 0.045 | 0.049 | 0.049 | 0.052 | 0.045 | 0.048 | 0.047 | 0.046 | 0.045
14 | 0.009 | 0.01 | 0.017 | 0.023 | 0.031 | 0.028 | 0.033 | 0.037 | 0.038 | 0.038 | 0.039 | 0.042 | 0.039 | 0.037 | 0.043
15 | 0.004 | 0.013 | 0.018 | 0.024 | 0.027 | 0.032 | 0.036 | 0.039 | 0.04 | 0.041 | 0.044 | 0.046 | 0.044 | 0.042 | 0.041
16 | 0.002 | 0.01 | 0.016 | 0.022 | 0.023 | 0.029 | 0.033 | 0.036 | 0.037 | 0.039 | 0.039 | 0.041 | 0.039 | 0.036 | 0.036
17 | 0.004 | 0.011 | 0.016 | 0.021 | 0.023 | 0.027 | 0.031 | 0.033 | 0.035 | 0.036 | 0.038 | 0.041 | 0.038 | 0.034 | 0.033
18 | 0.009 | 0.012 | 0.023 | 0.024 | 0.023 | 0.027 | 0.031 | 0.036 | 0.036 | 0.037 | 0.037 | 0.039 | 0.04 | 0.038 | 0.037
19 | 0.01 | 0.017 | 0.023 | 0.023 | 0.031 | 0.026 | 0.032 | 0.036 | 0.037 | 0.037 | 0.036 | 0.038 | 0.033 | 0.031 | 0.03
20 | 0.006 | 0.012 | 0.012 | 0.018 | 0.02 | 0.023 | 0.029 | 0.031 | 0.034 | 0.036 | 0.037 | 0.039 | 0.037 | 0.034 | 0.035
21 | 0.004 | 0.011 | 0.017 | 0.023 | 0.025 | 0.029 | 0.033 | 0.036 | 0.038 | 0.037 | 0.037 | 0.039 | 0.039 | 0.035 | 0.037
22 | 0.004 | 0.01 | 0.014 | 0.021 | 0.019 | 0.022 | 0.025 | 0.028 | 0.027 | 0.028 | 0.026 | 0.027 | 0.024 | 0.024 | 0.026
23 | 0.001 | 0.009 | 0.015 | 0.02 | 0.021 | 0.024 | 0.027 | 0.03 | 0.03 | 0.029 | 0.028 | 0.032 | 0.028 | 0.024 | 0.022
24 | 0.007 | 0.012 | 0.01 | 0.015 | 0.014 | 0.016 | 0.019 | 0.022 | 0.022 | 0.022 | 0.028 | 0.023 | 0.019 | 0.016 | 0.019
25 | 0.008 | 0.015 | 0.018 | 0.021 | 0.023 | 0.024 | 0.028 | 0.03 | 0.027 | 0.028 | 0.026 | 0.027 | 0.024 | 0.023 | 0.021
26 | 0.006 | 0.013 | 0.018 | 0.016 | 0.018 | 0.021 | 0.026 | 0.028 | 0.027 | 0.026 | 0.026 | 0.027 | 0.023 | 0.019 | 0.018
27 | 0.005 | 0.012 | 0.017 | 0.024 | 0.025 | 0.027 | 0.03 | 0.032 | 0.031 | 0.031 | 0.031 | 0.031 | 0.028 | 0.027 | 0.025
28 | 0.003 | 0.009 | 0.021 | 0.021 | 0.025 | 0.024 | 0.026 | 0.032 | 0.025 | 0.024 | 0.021 | 0.021 | 0.017 | 0.013 | 0.009
29 | 0.001 | 0.008 | 0.013 | 0.017 | 0.017 | 0.023 | 0.026 | 0.026 | 0.025 | 0.025 | 0.023 | 0.023 | 0.022 | 0.016 | 0.012
30 | 0.002 | 0.009 | 0.012 | 0.015 | 0.015 | 0.017 | 0.021 | 0.021 | 0.02 | 0.02 | 0.018 | 0.017 | 0.013 | 0.008 | 0.003
31 | 0.002 | 0.013 | 0.016 | 0.014 | 0.013 | 0.016 | 0.019 | 0.021 | 0.02 | 0.02 | 0.019 | 0.019 | 0.014 | 0.009 | 0.005
32 | 0.008 | 0.007 | 0.01 | 0.015 | 0.015 | 0.016 | 0.02 | 0.021 | 0.021 | 0.02 | 0.017 | 0.018 | 0.014 | 0.01 | 0.005
33 | 0 | 0.005 | 0.007 | 0.011 | 0.012 | 0.015 | 0.018 | 0.02 | 0.02 | 0.019 | 0.018 | 0.018 | 0.012 | 0.009 | 0.005
34 | 0.006 | 0.005 | 0.013 | 0.018 | 0.018 | 0.021 | 0.024 | 0.025 | 0.024 | 0.023 | 0.013 | 0.013 | 0.008 | 0.005 | -0.001
35 | 0.009 | 0.015 | 0.018 | 0.022 | 0.021 | 0.017 | 0.019 | 0.018 | 0.016 | 0.016 | 0.013 | 0.013 | 0.008 | 0.005 | 0
36 | 0.002 | 0.006 | 0.01 | 0.015 | 0.015 | 0.016 | 0.019 | 0.018 | 0.016 | 0.015 | 0.013 | 0.012 | 0.008 | 0.004 | 0.002
37 | -0.001 | 0.006 | 0.009 | 0.014 | 0.015 | 0.018 | 0.02 | 0.018 | 0.016 | 0.015 | 0.014 | 0.014 | 0.009 | 0.007 | 0.002
38 | -0.001 | 0.005 | 0.007 | 0.018 | 0.018 | 0.015 | 0.016 | 0.016 | 0.016 | 0.015 | 0.013 | 0.012 | 0.009 | 0.005 | -0.001
39 | 0 | 0.005 | 0.008 | 0.011 | 0.01 | 0.012 | 0.014 | 0.012 | 0.012 | 0.011 | 0.01 | 0.008 | 0.002 | 0 | -0.006
40 | -0.001 | 0.005 | 0.009 | 0.012 | 0.01 | 0.01 | 0.013 | 0.013 | 0.012 | 0.01 | 0.008 | 0.008 | 0.002 | -0.002 | -0.008
41 | 0.001 | 0.006 | 0.009 | 0.011 | 0.011 | 0.014 | 0.015 | 0.014 | 0.012 | 0.012 | 0.01 | 0.008 | 0.002 | -0.002 | -0.006
42 | 0.008 | 0.005 | 0.008 | 0.01 | 0.008 | 0.01 | 0.012 | 0.01 | 0.008 | 0.005 | 0.003 | 0.002 | -0.004 | -0.008 | -0.015
43 | 0.001 | 0.005 | 0.006 | 0.007 | 0.008 | 0.012 | 0.013 | 0.013 | 0.01 | 0.008 | 0.006 | 0.004 | 0 | -0.003 | -0.01
44 | 0.008 | 0.013 | 0.007 | 0.016 | 0.011 | 0.013 | 0.015 | 0.012 | 0.011 | 0.01 | 0.007 | 0.006 | 0.003 | -0.001 | -0.008
45 | 0.001 | 0.005 | 0.007 | 0.009 | 0.009 | 0.011 | 0.012 | 0.009 | 0.006 | 0.003 | 0.003 | -0.001 | -0.007 | -0.009 | -0.016
46 | 0.007 | 0.005 | 0.008 | 0.011 | 0.012 | 0.012 | 0.015 | 0.014 | 0.011 | 0.009 | 0.008 | 0.005 | -0.001 | -0.006 | -0.011
47 | 0.001 | 0.005 | 0.009 | 0.01 | 0.009 | 0.011 | 0.011 | 0.008 | 0.005 | 0.001 | -0.004 | -0.007 | -0.013 | -0.019 | -0.026
48 | -0.001 | 0.003 | 0.004 | 0.005 | 0.002 | 0.004 | 0.009 | 0.007 | 0.005 | 0.001 | -0.002 | -0.004 | -0.011 | -0.018 | -0.026
49 | -0.002 | 0.003 | 0.008 | 0.011 | 0.008 | 0.009 | 0.008 | 0.006 | 0.003 | -0.001 | -0.005 | -0.007 | -0.013 | -0.018 | -0.023
50 | 0.001 | 0.004 | 0.007 | 0.008 | 0.007 | 0.009 | 0.007 | 0.005 | 0.004 | -0.001 | -0.004 | -0.008 | -0.012 | -0.018 | -0.026
51 | 0.007 | 0.011 | 0.014 | 0.013 | 0.01 | 0.012 | 0.009 | 0.006 | 0.004 | -0.005 | -0.008 | -0.011 | -0.018 | -0.023 | -0.031
52 | -0.001 | 0.002 | 0.003 | 0.003 | 0 | 0.001 | -0.001 | -0.001 | -0.004 | -0.009 | -0.011 | -0.013 | -0.019 | -0.024 | -0.029
53 | -0.002 | 0.001 | 0.002 | 0.003 | 0.001 | 0.001 | -0.001 | -0.005 | -0.008 | -0.013 | -0.018 | -0.021 | -0.026 | -0.033 | -0.041
54 | 0 | 0.004 | 0.004 | 0.005 | 0.003 | 0.002 | 0 | -0.003 | -0.007 | -0.01 | -0.015 | -0.019 | -0.024 | -0.027 | -0.034
55 | -0.002 | 0.002 | 0.003 | 0.006 | 0.003 | 0.005 | 0.003 | 0.003 | 0.001 | -0.005 | -0.008 | -0.01 | -0.016 | -0.021 | -0.027
56 | 0.004 | 0.001 | 0.003 | 0.004 | 0.001 | 0 | -0.001 | -0.005 | -0.007 | -0.013 | -0.019 | -0.023 | -0.021 | -0.027 | -0.034
57 | -0.001 | 0.001 | 0.003 | 0.003 | 0 | 0 | 0 | -0.003 | -0.005 | -0.01 | -0.013 | -0.018 | -0.024 | -0.03 | -0.038
58 | -0.002 | 0.001 | 0.002 | 0.003 | 0 | -0.001 | -0.003 | -0.008 | -0.01 | -0.013 | -0.018 | -0.021 | -0.025 | -0.029 | -0.036
59 | 0.004 | -0.001 | -0.001 | -0.001 | -0.006 | -0.007 | -0.009 | -0.011 | -0.014 | -0.021 | -0.028 | -0.032 | -0.039 | -0.045 | -0.051
60 | 0.002 | 0.004 | -0.002 | -0.001 | -0.004 | -0.003 | -0.004 | -0.008 | -0.011 | -0.017 | -0.024 | -0.028 | -0.035 | -0.042 | -0.05
61 | -0.005 | -0.003 | 0.006 | -0.001 | -0.005 | 0.002 | -0.007 | -0.009 | -0.004 | -0.018 | -0.025 | -0.029 | -0.038 | -0.047 | -0.055
62 | 0 | -0.001 | -0.002 | -0.003 | -0.009 | -0.013 | -0.014 | -0.018 | -0.022 | -0.029 | -0.037 | -0.04 | -0.048 | -0.058 | -0.068