## Rate Case DIV 13-32_Combined
The Narragansett Electric Company
d/b/a Rhode Island Energy
Docket No. 25-45-GE
Attachment DIV 13-32
Page 1 of 1
SCHEDULE 1 - Percent Reimbursement - Section Breakdown
Line No. | Schedule (a) | ITEM NO. (b) | Description (c) | Sections (d) | From (e) | To (f) | % For DG (g) | % For Accel Mod (h) | % For Sys Improve (i) |  | Notes (j)
1 | 1 | 1 | Developer 2 - Civil Work - Hopkins Hill | Hopkins Hill Road | 3309 Riser (Hopkins Hill Rd) | 3310 Riser (Hopkins Hill Rd) | 80% | 0% | 20% |  | Duct Bank allocated 80% to 3309 Line (system modification) and 20% to spare ducts (system improvement)
2 | 1 | 2 | Developer 2 - Cable Procurement | Hopkins Hill Road, Nooseneck Hill Road - North, Weaver Hill Road | 3309 Riser (Hopkins Hill Rd) | Revity Tap - Robin Hollow Site | 72.55% | 27.45% | 0% |  | 72.55% for 3309 cable on Hopkins Hill and Weaver Roads, 27.45% for 3310 cable on Weaver Hill Road
3 | 1 | 3 | RIE - Overhead Work- 3309 | Hopkins Hill Road | 3309 Riser (Hopkins Hill Rd) | 3310 Riser (Hopkins Hill Rd) | 100% | 0% | 0%
4 | 1 | 4 | RIE - Subtransmission Lines - 3309 and 3310 | Hopkins Hill Road, Nooseneck Hill Road - North, Weaver Hill Road | 3309 Riser (Hopkins Hill Rd) | Revity Tap - Robin Hollow Site | 69.56% | 30.44% | 0% |  | 69.56% for 3309 cable on Hopkins Hill and Weaver Roads, 30.44% for 3310 cable on Weaver Hill Road
5 | 1 | 5 | RIE - Riser Poles | Hopkins Hill Road | 3309 Riser (Hopkins Hill Rd) | 3310 Riser (Hopkins Hill Rd) | 0% | 100% | 0% |  | Riser work on Hopkins Hill Road is for 3310 Line (accelerated modification)
6 | 1 | 6 | Developer 1 - Civil Work | Nooseneck Hill Road - North | 3310 Riser (Hopkins Hill Rd) | Intersection of Nooseneck/Weaver Hill Roads (Node A) | 50% | 50% | 0% |  | Duct Bank allocated 50% to 3310 Line (accelerated modification and 50% to 3309 Line (system modification)
7 | 1 | 7 | Developer 1 - Civil Work - Risers | Nooseneck Hill Road - North | 3310 Riser (Hopkins Hill Rd) | Intersection of Nooseneck/Weaver Hill Roads (Node A) | 100% | 0% | 0% |  | 3309 Line civil work for risers
8 | 1 | 8 | Developer 1 - Civil Work | Nooseneck Hill Road - South | Intersection of Nooseneck/Weaver Hill Roads (Node A) | Green Dev Site | 80% | 0% | 20% |  | Duct Bank allocated 80% to 3310 Line (system modification) and 20% to spare ducts (system improvement)
9 | 1 | 9 | RIE - Subtransmission Lines - 3310 - Labor | Nooseneck Hill Road - North, Nooseneck Hill Road - South | 3310 Riser (Hopkins Hill Rd) | Green Dev Site | 47.05% | 52.95% | 0% |  | Nooseneck Hill Road South - 14,651 feet (system modification). Nooseneck Hill Road - North - 16.486 feet (accelerated modification).
10 | 1 | 10 | RIE - Subtransmission Lines - 3310 - Material | Nooseneck Hill Road - North, Nooseneck Hill Road - South | 3310 Riser (Hopkins Hill Rd) | Green Dev Site | 41.32% | 58.68% | 0% |  | Nooseneck Hill Road South - 500kcmil cable (system modification). Nooseneck Hill Road - North - 1000 kcmil cable (system improvement).
11 | 1 | 11 | RIE - Riser Poles - Nooseneck Hill Road | Nooseneck Hill Road - North, Nooseneck Hill Road - South | 3310 Riser (Hopkins Hill Rd) | Green Dev Site | 50% | 25% | 25% |  | Riser work on Nooseneck Hail Road - North - 3310 Line (accelerated modification) and 3309 Line (system modification). Riser work on Nooseneck Hill - South - 3310 Line for Green Development (system modification) and other TBD (system improvement)
12 | 1 | 12 | Developer 2 - Civil Work | Weaver Hill Road | Intersection of Nooseneck/Weaver Hill Roads (Node A) | Revity Tap - Robin Hollow Site | 22% | 22% | 56% |  | Duct Bank allocated 22% to 3310 Line (accelerated modification), 22% to 3309 Line (system modification), and 56% to spare ducts (system improvement)
SCHEDULE 2 - Actual Costs
Line No. | Schedule (a) | ITEM NO. (b) | FINAL COSTS (c) | Labor (d) | Equipment (e) | Subcontractor (f) | Materials (g) | Total (h)
1 | 2 | 1 | Developer 2 - Civil Work - Hopkins Hill | 26941.6767 |  | 2993413.8013 | 245425.1859 | 3265780.6639
2 | 2 | 2 | Developer 2 - Cable Procurement |  |  |  | 988022.31 | 988022.31
3 | 2 | 3 | RIE - Overhead Work- 3309 | 38327.0534 |  | 105062.9257 | 93731.2909 | 237121.27
4 | 2 | 4 | RIE - Subtransmission Lines - 3309 and 3310 Phase 2 | 67183.2813 |  | 879892.1394 | 311054.0093 | 1258129.43
5 | 2 | 5 | RIE - Riser Poles - Hopkins Hill Road | 61873.3198 |  | 16263.1236 | 86294.3066 | 164430.75
6 | 2 | 6 | Developer 1 Civil Work - Nooseneck Hill Road - North | 2542680.5402 |  | 1670654.6247 | 1790466.852 | 6003802.0169
7 | 2 | 7 | Developer 1 Civil Work - Nooseneck Hill Road - South | 2463139.2199 |  | 1843516.7608 | 1606097.9313 | 5912753.912
8 | 2 | 8 | Developer 1 - Civil Work - Risers | 116727.0259 |  | 52170.4767 | 12529.9267 | 181427.4293
9 | 2 | 9 | RIE - Subtransmission Lines - 3310 Phase 1 | 803158.6477 |  | 114491.0131 | 3756783.7091 | 4674433.37
10 | 2 | 10 | RIE - Riser Poles - Nooseneck Hill Road | 248549.0723 |  | 53721.64 | 152396.9576 | 454667.67
11 | 2 | 11 | Developer 2 - Civil Work - Weaver Hill | 11468.4164 |  | 1274223.4425 | 104471.5318 | 1390163.3907
12 | 2 | 12 | TOTAL | 6380048.2537 | 0 | 9003409.9478 | 9147274.0113 | 24530732.2129
SCHEDULE 3 - Breakdown Actual Costs By Defined Sections
Line No. | Schedule (a) | ITEM NO. (b) | DESCRIPTION OF WORK (c) | Hopkins Hill Road (d) | Nooseneck Hill Road - North (e) | Nooseneck Hill Road - South (f) | Weaver Hill Road (g) | Total (h)
1 | 3 | 1 | Developer 2 - Civil Work | 3265780.6639 |  |  | 1390163.3907 | 4655944.0547
2 | 3 | 2 | Developer 2 - Cable Procurement | 716800.4994 |  |  | 271221.8106 | 988022.31
3 | 3 | 3 | RIE - Overhead Work- 3309 | 237121.27 |  |  |  | 237121.27
4 | 3 | 4 | RIE - Subtransmission Lines - 3309 and 3310 Phase 2 | 875190.84 |  |  | 382938.59 | 1258129.43
5 | 3 | 5 | RIE - Riser Poles - Hopkins Hill Road | 164430.75 |  |  |  | 164430.75
6 | 3 | 6 | Developer 1 - Civil Work |  | 6003802.0169 | 5912753.912 |  | 11916555.9289
7 | 3 | 7 | Developer 1 - Civil Work - Risers |  | 181427.4293 |  |  | 181427.4293
8 | 3 | 8 | RIE - Subtransmission Lines - 3310 Phase 1 |  | 2690434.6478 | 1983998.7222 |  | 4674433.37
9 | 3 | 9 | RIE - Riser Poles - Nooseneck Hill Road |  | 227333.835 | 227333.835 |  | 454667.67
10 | 3 | 10 | TOTAL | 5259324.0233 | 9102997.929 | 8124086.4692 | 2044323.7913 | 24530732.2129
SCHEDULE 4 - Breakdown Actual Costs By Defined Sections and By Type
Line No. | Schedule (a) | ITEM NO. (b) | Description (c) | Section Name (d) | From (e) | To (f) | $ For DG (g) | $ For Accel Mod (h) | $ For Sys Improve (i)
1 | 10 | 1 | Cable 35kV - 3309 Line | Hopkins Hill Road | 3309 Riser (Hopkins Hill Rd) | 3310 Riser (Hopkins Hill Rd) | 244484.8164 | 0 | 0 |  | Cable allocation by street is Hopkins Hill -15.36%, Nooseneck - 81.67%, Weaver Hill - 2.97%
2 | 10 | 2 | Riser Work | Hopkins Hill Road | 3309 Riser (Hopkins Hill Rd) | 3310 Riser (Hopkins Hill Rd) | 237121.27 | 164430.75 | 0
3 | 10 | 3 | Duct Bank Civil Work - Developer 2 | Hopkins Hill Road | 3309 Riser (Hopkins Hill Rd) | 3310 Riser (Hopkins Hill Rd) | 2612624.5311 | 0 | 653156.1328
4 | 10 | 4 | Cable 35kV - 3309 Line | Nooseneck Hill Road - North | 3310 Riser (Hopkins Hill Rd) | Intersection of Nooseneck/Weaver Hill Roads (Node A) | 1300186.6501 | 0 | 0 |  | Cable allocation by street is Hopkins Hill -15.36%, Nooseneck - 81.67%, Weaver Hill - 2.97%
5 | 10 | 5 | Cable 35kV - 3310 Line | Nooseneck Hill Road - North | 3310 Riser (Hopkins Hill Rd) | Intersection of Nooseneck/Weaver Hill Roads (Node A) | 0 | 2690434.6478 | 0
6 | 10 | 6 | Riser Work | Nooseneck Hill Road - North | 3311 Riser (Hopkins Hill Rd) | Intersection of Nooseneck/Weaver Hill Roads (Node A) | 113666.9175 | 113666.9175 | 0
7 | 10 | 7 | Duct Bank Civil Work - Developer 1 | Nooseneck Hill Road - North | 3310 Riser (Hopkins Hill Rd) | Intersection of Nooseneck/Weaver Hill Roads (Node A) | 3001901.0085 | 3001901.0085 | 0
8 | 10 | 8 | Duct Bank Civil Work - Developer 1 - 3309 Risers | Nooseneck Hill Road - North | 3310 Riser (Hopkins Hill Rd) | Intersection of Nooseneck/Weaver Hill Roads (Node A) | 181427.4293 | 0 | 0
9 | 10 | 9 | Cable 35kV - 3310 Line | Nooseneck Hill Road - South | Intersection of Nooseneck/Weaver Hill Roads (Node A) | Green Dev Site | 1983998.7222 | 0 | 0
10 | 10 | 10 | Riser Work | Nooseneck Hill Road - South | Intersection of Nooseneck/Weaver Hill Roads (Node A) | Green Dev Site | 113666.9175 | 0 | 113666.9175
11 | 10 | 11 | Duct Bank Civil Work - Developer 1 | Nooseneck Hill Road - South | Intersection of Nooseneck/Weaver Hill Roads (Node A) | Green Dev Site | 4730203.1296 | 0 | 1182550.7824
12 | 10 | 12 | Cable 35kV - 3309 Line | Weaver Hill Road | Intersection of Nooseneck/Weaver Hill Roads (Node A) | Revity Tap - Robin Hollow Site | 47319.666 | 0 | 0 |  | Cable allocation by street is Hopkins Hill -15.36%, Nooseneck - 81.67%, Weaver Hill - 2.97%
13 | 10 | 13 | Cable 35kV - 3310 Line | Weaver Hill Road | Intersection of Nooseneck/Weaver Hill Roads (Node A) | Revity Tap - Robin Hollow Site | 0 | 654160.4006 | 0
14 | 10 | 14 | Duct Bank Civil Work - Developer 2 | Weaver Hill Road | Intersection of Nooseneck/Weaver Hill Roads (Node A) | Revity Tap - Robin Hollow Site | 305835.946 | 305835.946 | 778491.4988
15 | 10 | 15 | Subtotal - Developer 1 |  |  |  | 10124864.1246 | 5970433.3237 | 1296217.6999
16 | 10 | 16 | Subtotal - Developer 2 |  |  |  | 4747572.8796 | 959996.3465 | 1431647.6316
17 | 10 | 17 | TAXES - Developer 1 |  |  |  | 1104848.5105 | 619664.35 | 143335.93
18 | 10 | 18 | TAXES - Developer 2 |  |  |  | 605417.0938 | 106367.5952 | 158626.5576
SCHEDULE 5A - Depreciation on Accelerated Modifications - Developer 1
Line No. | Schedule (a) | ITEM NO. (b) | Depreciation Years Per Original Schedule (c) | Rate (d) | Amount (e)
1 | 5A | 1 | Total Cost |  | 6590097.6737
2 | 5A | 2 | FY 2022 Book Depreciation | 3.16% | 104123.5432
3 | 5A | 3 | FY 2023 Book Depreciation | 3.16% | 208247.0865
4 | 5A | 4 | FY 2024 Book Depreciation | 3.16% | 208247.0865
5 | 5A | 5 | FY 2025 Book Depreciation | 3.16% | 208247.0865
6 | 5A | 6 | FY 2026 Book Depreciation | 3.16% | 208247.0865
7 | 5A | 7 | FY 2027 Book Depreciation | 3.16% | 208247.0865
8 | 5A | 8 | FY 2028 Book Depreciation | 3.16% | 208247.0865
9 | 5A | 9 | Cumulative Book Depreciation |  | 1353606.0622
10 | 5A | 10 | Accelerated Modification Cost less Depreciation |  | 5236491.6116
SCHEDULE 5B - Depreciation on Accelerated Modifications - Developer 2
Line No. | Schedule (a) | ITEM NO. (b) | Depreciation Years Per Original Schedule (c) | Rate (d) | Amount (e)
1 | 5B | 1 | Total Cost |  | 1066363.9417
2 | 5B | 2 | FY 2023 Book Depreciation | 3.16% | 16848.5503
3 | 5B | 3 | FY 2024 Book Depreciation | 3.16% | 33697.1006
4 | 5B | 4 | FY 2025 Book Depreciation | 3.16% | 33697.1006
5 | 5B | 5 | FY 2026 Book Depreciation | 3.16% | 33697.1006
6 | 5B | 6 | FY 2027 Book Depreciation | 3.16% | 33697.1006
7 | 5B | 7 | FY 2028 Book Depreciation | 3.16% | 33697.1006
8 | 5B | 8 | Cumulative Book Depreciation |  | 185334.0531
9 | 5B | 9 | Accelerated Modification Cost less Depreciation |  | 881029.8887
SCHEDULE 6 - Rate Base Calculation
Line No. | Schedule (a) | ITEM NO. (b) | Description (c) | Amount (d)
1 | 6 | 1 | Accelerated Modifications | 5391489.555
2 | 6 | 2 | System Improvements | 2727865.3315
3 | 6 | 3 | Total Rate Base Amount | 8119354.8865
New Schedules for PUC 17-1
SCHEDULE 7 - Comparison to Compliance Filing 25-24-EL - Reimbursement Table - Nooseneck
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l)
Line No. | Schedule (a) | ITEM NO. (b) | Cost Classification | Study Costs - Developer1 | Site Costs- Developer 1 | Non-Site Costs - Developer 1 | Tax -Developer 1 | Total Cost w/Tax - Developer 1 | Green Paid/Self Build Costs | Depreciation - Developer1 | Customer Payment | Company Payment
1 | 7 | 1 | System Modification (Including Study Costs) | 93008.83 | 451829.04 | 6827868.7693 | 739541.4251 | 8112248.0644 | -4730203.1296 |  | 3382044.9348
2 | 7 | 2 | System Improvement |  |  | 1296217.6999 | 143335.93 | 1439553.6299 | -1182550.7824 |  |  | -1182550.7824
3 | 7 | 3 | Accelerated Modification |  |  | 5970433.3237 | 619664.35 | 6590097.6737 | -3001901.0085 | 787798.7292 |  | -2214102.2793
4 | 7 | 4 | Customer Payment |  |  |  |  | -4951471.4 |  |  | 3382044.9348 | -1569426.4652
5 | 7 | 5 | Total Reimbursement | [8 empty] | -4966079.5269
6 | 7 | 6 | Tax paid by Developer 2 on work performed by Developer 1 |  |  |  | 365307.0854
7 | 7 | 7 | Portion of Depreciation to be paid by other developers | [6 empty] | 565807.333
SCHEDULE 8 - Attachment 1, Table 1 from Compliance Filing 25-24-EL - Original, Nooseneck and Robin Hollow Only
|  |  | (a) | (b) | (c) | (d) | (e) | (f)
Line No. | Schedule (a) |  | Project | Accelerated System Modification Amount (Customer Performed Work) | System Improvement Amount (Customer Performed Work) | Accelerated System Modification (Company Performed Work) | System Improvement Amount (Company Performed Work) | Total Seeking Cost Recovery
1 | 8 | 1
2 | 8 | 2 | Nooseneck | 2214102 | 1182551 | 2968532 | 113667 | 6478852 |  | 565807 | 5913045
3 | 8 | 3 | Robin Hollow | 391724 | 1431648 | 382939 | 0 | 2206310
4 | 8 | 4
5 | 8 | 5 | Totals | 2605826 | 2614199 | 3351471 | 113667 | 8685162 |  |  | 8119355
SCHEDULE 9 - Attachment 1, Table 1 from Compliance Filing 25-24-EL - Updated, Nooseneck and Robin Hollow Only
|  |  | (a) | (b) | (c) | (d) | (e) | (f)
Line No. | Schedule (a) |  | Project | Accelerated System Modification Amount (Customer Performed Work) | System Improvement Amount (Customer Performed Work) | Accelerated System Modification (Company Performed Work) | System Improvement Amount (Company Performed Work) | Total Seeking Cost Recovery
1 | 9 | 1 | Tiverton
2 | 9 | 2 | Nooseneck | 2214102.2793 | 1182550.7824 | 2968532.3153 | 113666.9175 | 6478852.2945
3 | 9 | 3 | Robin Hollow | 305835.946 | 1431647.6316 | 261724.6205 | 0 | 1999208.1981
4 | 9 | 4 | Studley Solar
5 | 9 | 5 | Totals | 2519938.2252 | 2614198.414 | 3230256.9358 | 113666.9175 | 8478060.4925
6 | 9 | 6 | Less Additional Depreciation on Accelerated Modification to be paid by Studley Solar on work done by Developer 1 |  |  | 358705.606 |  | 8119354.8865
Note on L11: Author: Scenario 9 from Conduit Decision Tree
Note on L16: Author: Scenario 5 from Conduit Decision Tree
Note on L18: Author: Scenario 9 from Conduit Decision Tree
Note on L22: Author: Scenario 5 from Conduit Decision Tree
Note on H81: Author: 2026-05-18 removed $605k (it’s the tax for Developer 2 below) - this does not change the results